MIB-derived odor management based upon hydraulic regulation in small drinking water reservoirs: principle and application

Jinping Lu

Ming Su

Yuliang Su

Jiao Fang

Michael Burch

Tengxin Cao

Bin Wu

Jianwei Yu

Min Yang

2024-12-19

# Supplementary Material

Figures and/or tables are provided below as the supplementary evidences to the main text.

|  |
| --- |
| Fig. 1 The sampling sites in NP (A) and ZXD (B) Reservoirs |

|  |
| --- |
| Fig. 2 Temperature profile of NP and ZXD Reservoirs |

|  |
| --- |
| Fig. 3 The schematic diagram of the experimental apparatus and the detailed design for the experiment |

|  |
| --- |
| Fig. 4 The monthly variation of water residence time and MIB from 2017 to 2020. (The MIB episodes are represented by grey areas) |

|  |
| --- |
| Fig. 5 The correlation analysis between MIB and some limnological parameters in NP Reservoir |

|  |
| --- |
| Fig. 6 The relationship between MIB episode ration and HRT in NP Reservoir |

|  |
| --- |
| Fig. 7 The relationship between *Pseudanabaena* abundance and MIB concentration in ZXD Reservoir. |

|  |
| --- |
| Fig. 8 The vertical variation of water quality parameters in ZXD Reservoir during the investigation period (April 2021) (A: Temperature (Temp); B : Chlorophyll *a* (Chl *a*); C : Phycocyanin (PC); D : Turbidity (Turb). |

|  |
| --- |
| Fig. 9 The phytoplankton phylum in ZXD Reservoir before and after HRT regulation |

|  |
| --- |
| Fig. 10 The MIB-producing cyanobacteria genus in Zhuhai water sources |

To identify the MIB-producing cyanobacteria genera in Zhuhai, seven water sources (GCBZ, HYBZ, …, FH,DJS) were select and water samples were collected from July to October, 2020 when there were MIB episode. The universal primer for MIB gene (*mic*) (Suruzzaman et al., 2022) was used to amplify samples genome and was Illumina MiSeq sequenced. The data was phylogenetic classification assigned using Silva 128 database. The result declared that the MIB-producers in Zhuhai was *Pseudanabaena* and *Planktothricoides* with the later more abundant.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 1 Sampling description   | Reservoir | Sampling | Time | Sites | Layers | Frequency | | --- | --- | --- | --- | --- | --- | | NP | Routine | Mar., 2017~Dec., 2020 | NP03 | Surface (0.5 m) | monthly | | NP | MIB episodes | Jul., 2017 | NP01, NP02, …, NP06 | Surface (0.5 m) | daily | | NP | MIB episodes | Apr., 2018 | NP01, NP02, …, NP06 | Surface (0.5 m) | daily | | ZXD | MIB episodes | Mar. ~ Apr. , 2021 | ZXD01, ZXD02, …,ZXD06 | Surface (0.5 m) | daily | | ZXD | MIB episodes | Apr. , 2021 | ZXD01 | Surface (0.5 m), middle (3 m), bottom (5~7 m) | weekly | | ZXD | MIB episodes | Apr. , 2021 | ZXD02 | Surface (0.5 m), middle (2 m), bottom (3~5 m) | weekly | | ZXD | MIB episodes | Apr. , 2021 | ZXD03 | Surface (0.5 m), middle (5 m), bottom (10~11 m) | weekly | | ZXD | MIB episodes | Apr. , 2021 | ZXD04 | Surface (0.5 m), middle (3 m), bottom (6~7 m) | weekly | | ZXD | MIB episodes | Apr. , 2021 | ZXD05 | Surface (0.5 m), middle (2.5 m), bottom (5~6 m) | weekly | | ZXD | MIB episodes | Apr. , 2021 | ZXD06 | Surface (0.5 m), middle (3.5 m), bottom (6~8 m) | weekly | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 2 Light intensity for all sets was 54 μmol m-2s-1, and culture temperature was 30 °C; 10 samplings were performed for each set. The lab experiment design to investigate the effect of hydraulic residence time to *P. raciborskii* growth is shown in the table above.   | **ID** | **HRT (d)** | **Flowrate (L d-1)** | | --- | --- | --- | | I | 2 | 4.5 | | II | 5 | 1.8 | | III | 10 | 0.9 | | IV | 20 | 0.45 | | V | 40 | 0.225 | | VI | 80 | 0.113 | |

The raw NP Reservoir was first collected and transported to laboratory, then filtered using glass fiber membrane (0.7 μm)to remove phytoplankton, the filtrate was further sterilized to remove microorganisms that may produce MIB, such as actinomycetes. Then fill the 9 L culture barrels with this sterilized solution and the rest served as the dilution solution was stored and aerated in the black storage bucket to minimize potential MIB accumulation. The enriched pure *P. raciborskii* was first filtered using polyester fiber membrane (1.2 μm, Millipore, USA) to remove excess nutrients from the original culture solution and washed 3 times with ultrapure water. Then *P. raciborskii* was cultured into the culture barrels at cell density of 1× 107 cell L-1 with three replicates, the temperature and light intensity were 30 °C and 54 μmol photon m-2 s-1. The residence time setting (2, 5, 10, 20, 40, 80 day) in different barrels was achieved by adjusting the flow rate (4.5, 1.8, 0.9, 0.45, 0.225, 0.113 L d-1) of dilution solution pumped from the storage bucket. The 20 mL (10 mL for each sampling port and mixed into 20 mL) samples were taken every two days for odor compounds concentration and cell density quantification, the whole experiment was last for 19 days.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 3 The main water quality parameter in NP Reservoir (2017 ~ 2020, all values are expressed as mean values with standard deviations, variance analysis were performed to compare the differences (n = 71).).   | **Parameter** | **Spring** | **Summer** | **Fall** | **Winter** | ***p*-value** | | --- | --- | --- | --- | --- | --- | | MIBt (ng L-1) | 27.1 ± 25.9 | 35.5 ± 36.1 | 9.27 ± 11.2 | 9.78 ± 11.2 | *p* = 0.0334 | | GSMt (ng L-1) | 1.0 ± 0.0 | 2.9 ± 2.6 | 3.7 ± 2.9 | 1.9 ± 1.5 | *p* = 0.0425 | | Temp. (°C) | 22.5 ± 2.3 | 26.5 ± 1.3 | 25.1 ± 2.5 | 20.8 ± 3.7 | *p* < 0.0001 | | TP (μg L-1) | 41 ± 27 | 22 ± 13 | 36 ± 26 | 48 ± 44 | *p* = 0.1863 | | TN (μg L-1) | 1470 ± 167 | 1370 ± 500 | 1500 ± 455 | 1710 ± 357 | *p* = 0.3051 | | TOC (mg L-1) | 1.65 ± 0.16 | 1.76 ± 0.49 | 1.49 ± 0.29 | 1.40 ± 0.22 | *p* = 0.0565 | | pH | 8.5 ± 0.4 | 8.6 ± 0.5 | 8.1 ± 0.4 | 8.0 ± 0.4 | *p* = 0.0023 | | NO3-N (μg L-1) | 1030 ± 389 | 872 ± 404 | 1150 ± 301 | 1410 ± 250 | *p* = 0.0065 | | NH4-N (μg L-1) | 193 ± 77 | 159 ± 123 | 155 ± 123 | 94 ± 83 | *p* = 0.2090 | | DO (mg L-1) | 6.5 ± 1.5 | 6.6 ± 1.3 | 7.2 ± 1.4 | 7.3 ± 1.6 | *p* = 0.4690 | | COD (mg L-1) | 5.3 ± 1.4 | 6.1 ± 2.7 | 5.6 ± 1.9 | 5.2 ± 2.2 | *p* = 0.7364 | | Phytoplankton (×106 cell L-1) | 39.7 ± 38.2 | 54.1 ± 48.8 | 13.6 ± 19.6 | 9.6 ± 15.4 | *p* = 0.0084 | | HRT (d) | 25.8 ± 13.8 | 15.3 ± 3.9 | 16.8 ± 2.8 | 21.8 ± 5.7 | *p* = 0.0092 | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 4 The MIB-producing cyanobacteria genera identified by *mic* sequence in NP Reservoir   | **Phylum** | **Order** | **Genus** | **July** | **August** | | --- | --- | --- | --- | --- | | Cyanobacteria | Synechococcales | *Pseudanabaena* | 83.6 % | 88.3 % | | Cyanobacteria | Oscillatoriales | *Planktothricoides* | 16.4 % | 11.7% | |

To identify the MIB-producing cyanobacteria genera in NP Reservoir, water samples were collected in July and August, 2020 when serious MIB episode occurred. The universal primer for MIB gene (*mic*) (Suruzzaman et al., 2022) was used to amplify samples genome and was Illumina MiSeq sequenced. The data was phylogenetic classification assigned using Silva 128 database. The result declared that the MIB-producers in NP Reservoir was *Pseudanabaena* and *Planktothricoides*.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 5 The differences of main limnological parameters characteristics between the periods with and without MIB episodes (MIB > 10 ng L-1), all values are expressed as mean values with standard deviations, variance analysis were performed to compare the differences (n = 45).   | **Parameters** | **MIB episodes** | **No MIB episodes** | ***p*-value** | | --- | --- | --- | --- | | MIBt (ng L-1) | 56.1 ± 26.2 | 8.3 ± 8.9 | *p* < 0.0001 | | GSMt (ng L-1) | 3.2 ± 2.6 | 2.3 ± 2.2 | *p* = 0.2721 | | Temp. (°C) | 24.9 ± 3.2 | 23.2 ± 3.4 | *p* = 0.1632 | | TP (μg L-1) | 33 ± 26 | 38 ± 33 | *p* = 0.6973 | | TOC (mg L-1) | 1.68 ± 0.40 | 1.55 ± 0.33 | *p* = 0.2857 | | TN (μg L-1) | 1505 ± 442 | 1523 ± 403 | *p* = 0.8980 | | pH | 8.3 ± 0.5 | 8.2 ± 0.5 | *p* = 0.5538 | | NO3-N (μg L-1) | 972 ± 277 | 1165 ± 408 | *p* = 0.1570 | | NH4-N (μg L-1) | 151 ± 119 | 149 ± 107 | *p* = 0.9675 | | DO (mg L-1) | 6.1 ± 1.4 | 7.2 ± 1.4 | *p* = 0.0257 | | COD (mg L-1) | 5.6 ± 2.6 | 5.5 ± 1.8 | *p* = 0.8614 | | Phytoplankton (×106 cell L-1) | 62.3 ± 52.1 | 18.1 ± 24.9 | *p* = 0.0008 | | HRT (d) | 20.2 ± 5.5 | 20.2 ± 9.8 | *p* = 0.9987 | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 6 The summary of the main cyanobacteria specific growth rates under different culture conditions   | Genus | ρ10 | ρ50 | ρ90 | | --- | --- | --- | --- | | *Synechococcus* | 0.17 | 0.72 | 3.06 | | *Limnothrix* | 0.18 | 0.47 | 0.70 | | *Planktothrix* | 0.16 | 0.44 | 0.71 | | *Aphanizomenon* | 0.24 | 0.42 | 0.89 | | *Cylindrospermopsis* | 0.14 | 0.36 | 0.74 | | *Plectonema* | 0.11 | 0.34 | 2.06 | | *Microcystis* | 0.10 | 0.33 | 0.67 | | *Planktothricoides* | 0.17 | 0.33 | 1.18 | | *Microcoleus* | 0.17 | 0.29 | 1.25 | | *Oscillatoria* | 0.09 | 0.26 | 0.64 | | *Dolichospermum* | 0.10 | 0.20 | 0.99 | | *Pseudanabaena* | 0.03 | 0.20 | 0.25 | | *Phormidium* | 0.09 | 0.20 | 0.31 | | *Lyngbya* | 0.05 | 0.15 | 0.27 | |

The table above exhibits the growth rates of 14 typical cyanobacterial genera based on 1480 records from the references, where ρ\_{10}, ρ\_{50} and ρ\_{90} represent the 10th, 50th and 90th quantile values of the corresponding cyanobacterial genera growth rates, respectively. The raw data for these cyanobacterial growth rates and the corresponding references are summarised in an additional excel sheet.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 7 Main water quality parameters in ZXD reservoir during the investigation period (Apri 2021, n = 71), all values are expressed as mean values with standard deviations, variance analysis were performed to compare the differences.   | **Parameter** | **Bottom** | **Middle** | **Surface** | ***p*-value** | | --- | --- | --- | --- | --- | | MIBt (ng L-1) | 13.2 ± 7.6 | 15.5 ± 10.3 | 17.2 ± 10.3 | *p* = 0.3651 | | GSMt (ng L-1) | 4.6 ± 0.9 | 4.7 ± 0.2 | 4.8 ± 0.2 | *p* = 0.3885 | | MIBd (ng L-1) | 10.0 ± 5.8 | 11.3 ± 5.4 | 11.7 ± 5.7 | *p* = 0.5733 | | GSMd (ng L-1) | 6.3 ± 1.0 | 6.2 ± 0.8 | 6.2 ± 0.9 | *p* = 0.9785 | | TN (μg L-1) | 1587 ± 165 | 1629 ± 133 | 1626 ± 132 | *p* = 0.5374 | | TP (μg L-1) | 15 ± 4 | 15 ± 3 | 15 ± 2 | *p* = 0.7628 | | NH4-N (μg L-1) | 80 ± 71 | 67 ± 56 | 73 ± 50 | *p* = 0.7645 | | NO3-N (μg L-1) | 1438 ± 153 | 1441 ± 133 | 1435 ± 142 | *p* = 0.9866 | | pH | 8.4 ± 0.1 | 8.4 ± 0.1 | 8.4 ± 0.1 | *p* = 0.9002 | | DO (mg L-1) | 5.8 ± 2.2 | 7.7 ± 0.8 | 8.0 ± 0.5 | *p* < 0.0001 | | Turb. (NTU) | 17.2 ± 39.8 | 5.5 ± 6.3 | 4.7 ± 5.4 | *p* = 0.1245 | | Temp. (°C) | 21.5 ± 1.0 | 22.2 ± 0.8 | 22.8 ± 0.8 | *p* < 0.0001 | | Salinity (psu) | 0.16 ± 0.01 | 0.16 ± 0.01 | 0.16 ± 0.01 | *p* = 0.5897 | | Cond. (μs cm-1) | 342.9 ± 20.4 | 337.4 ± 15.4 | 337.9 ± 13.9 | *p* = 0.4739 | | TDS (mg L-1) | 221.5 ± 13.1 | 218.1 ± 10.0 | 218.8 ± 8.9 | *p* = 0.5300 | | Chl *a* (μg L-1) | 7.3 ± 14.8 | 7.8 ± 13.1 | 7.3 ± 6.3 | *p* = 0.9861 | | PC (μg L-1) | 0.1 ± 0.22 | 0.2 ± 0.2 | 0.3 ± 0.2 | *p* = 0.0191 | | ORP (mv) | -75.4 ± 214.4 | -75.9 ± 214.4 | -81.3 ± 216.0 | *p* = 0.9946 | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 8 Main water quality in surface layer ZXD reservoir during the investigation period (Apri 2021, n = 71), all values are expressed as mean values with standard deviations, variance analysis were performed to compare the differences.   | **Parameter** | **ZXD01** | **ZXD02** | **ZXD03** | **ZXD04** | **ZXD05** | **ZXD06** | ***p*-value** | | --- | --- | --- | --- | --- | --- | --- | --- | | MIBt (ng L-1) | 16.3 ± 9.0 | 12.1 ± 9.2 | 16.9 ± 8.8 | 11.8 ± 11.0 | 16.4 ± 9.3 | 18.2 ± 9.8 | *p* = 0.4704 | | GSMt (ng L-1) | 4.8 ± 0.3 | 4.7 ± 0.1 | 4.7 ± 0.1 | 4.4 ± 1.1 | 4.8 ± 0.2 | 4.7 ± 0.2 | *p* = 0.3951 | | MIBd (ng L-1) | 11.1 ± 4.0 | 8.9 ± 5.9 | 11.2 ± 5.3 | 10.5 ± 7.3 | 12.4 ± 6.3 | 12.0 ± 4.8 | *p* = 0.7544 | | GSMd (ng L-1) | 6.9 ± 0.5 | 5.8 ± 0.7 | 5.9 ± 0.8 | 6.6 ± 1.0 | 6.2 ± 0.8 | 6.0 ± 1.1 | *p* = 0.0105 | | TN (μg L-1) | 1620 ± 62 | 1649 ± 136 | 1548 ± 137 | 1640 ± 203 | 1608 ± 160 | 1625 ± 131 | *p* = 0.6064 | | TP (μg L-1) | 15 ± 3 | 15 ± 3 | 14 ± 4 | 14 ± 3 | 16 ± 3 | 15 ± 3 | *p* = 0.8021 | | NH4-N (μg L-1) | 67 ± 59 | 71 ± 76 | 70 ± 59 | 81 ± 45 | 75 ± 67 | 74 ± 57 | *p* = 0.9955 | | NO3-N (μg L-1) | 1422 ± 63 | 1491 ± 110 | 1366 ± 166 | 1495 ± 189 | 1442 ± 145 | 1418 ± 120 | *p* = 0.2115 | | pH | 8.4 ± 0.1 | 8.4 ± 0.1 | 8.4 ± 0.1 | 8.4 ± 0.1 | 8.4 ± 0.1 | 8.4 ± 0.1 | *p* = 0.9492 | | DO (mg L-1) | 7.6 ± 0.8 | 7.2 ± 1.3 | 6.1 ± 2.8 | 7.3 ± 1.3 | 7.7 ± 0.9 | 7.2 ± 1.7 | *p* = 0.1643 | | Turb. (NTU) | 3.2 ± 2.0 | 29.5 ± 55.1 | 3.0 ± 2.6 | 7.9 ± 9.9 | 4.9 ± 5.4 | 7.4 ± 10.0 | *p* = 0.0593 | | Temp. (°C) | 22.3 ± 0.8 | 22.2 ± 1.4 | 21.8 ± 1.2 | 21.9 ± 0.9 | 22.5 ± 0.8 | 22.2 ± 0.9 | *p* = 0.6057 | | Salinity (psu) | 0.16 ± 0.01 | 0.16 ± 0.01 | 0.17 ± 0.01 | 0.16 ± 0.01 | 0.16 ± 0.01 | 0.16 ± 0.01 | *p* = 0.4115 | | Cond. (μs cm-1) | 332.0 ± 18.2 | 343.1 ± 17.2 | 344.6 ± 19.1 | 336.3 ± 16.2 | 341.4 ± 14.0 | 339.2 ± 15.2 | *p* = 0.4689 | | TDS (mg L-1) | 214.8 ± 11.6 | 221.7 ± 10.8 | 222.7 ± 12.1 | 217.3 ± 10.8 | 220.8 ± 8.9 | 219.3 ± 9.9 | *p* = 0.4936 | | Chl *a* (μg L-1) | 5.5 ± 3.9 | 18.4 ± 25.8 | 5.6 ± 5.5 | 4.2 ± 4.4 | 5.5 ± 4.8 | 6.6 ± 6.4 | *p* = 0.0352 | | PC (μg L-1) | 0.16 ± 0.16 | 0.30 ± 0.35 | 0.21 ± 0.21 | 0.17 ± 0.18 | 0.21 ± 0.17 | 0.22 ± 0.19 | *p* = 0.6865 | | ORP (mv) | -111.9 ± 232.9 | -88.6 ± 228.1 | -78.2 ± 223.5 | -62.3 ± 209.4 | -69.5 ± 213.1 | -55.7 ± 206.5 | *p* = 0.9911 | | SD (cm) | 163.3 ± 70.9 | 151.5 ± 69.8 | 160.0 ± 82.8 | 168.8 ± 106.9 | 150.0 ± 86.8 | 166.3 ± 76.0 | *p* = 0.9993 | | zmax (m) | 6.4 ± 1.3 | 4.5 ± 1.4 | 11.0 ± 0.5 | 6.7 ± 0.5 | 4.9 ± 0.3 | 7.0 ± 0.8 | *p* < 0.0001 | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 9 Main water quality variation before and after construction in reservoir (considering all three layers, n = 71), all values are expressed as mean values with standard deviations, variance analysis were performed to compare the differences.   | **Parameter** | **Before** | **After** | ***p*-value** | | --- | --- | --- | --- | | MIBt (ng L-1) | 22.2 ± 8.7 | 8.6 ± 3.7 | *p* < 0.0001 | | GSMt (ng L-1) | 4.6 ± 0.8 | 4.7 ± 0.1 | *p* = 0.4035 | | MIBd (ng L-1) | 14.8 ± 5.4 | 7.4 ± 2.5 | *p* < 0.0001 | | GSMd (ng L-1) | 6.3± 1.0 | 6.2 ± 0.82 | *p* = 0.9307 | | TN (μg L-1) | 1563 ± 97 | 1664 ± 163 | *p* = 0.0023 | | TP (μg L-1) | 14 ± 2 | 15 ± 3 | *p* = 0.1520 | | NH4-N (μg L-1) | 98 ± 60 | 48± 46 | *p* = 0.0002 | | NO3-N (μg L-1) | 1368 ± 118 | 1507 ± 128 | *p* < 0.0001 | | pH | 8.4 ± 0.1 | 8.3± 0.1 | *p* < 0.0001 | | DO (mg L-1) | 6.8 ± 2.2 | 7.5 ± 0.9 | *p* = 0.0661 | | Turb. (NTU) | 6.0 ± 11.4 | 12.0 ± 31.0 | *p* = 0.2885 | | Temp. (°C) | 21.9 ± 1.1 | 22.4 ± 0.9 | *p* = 0.0490 | | Salinity (psu) | 0.17 ± 0.01 | 0.16 ± 0.01 | *p* < 0.0001 | | Cond. (μs cm-1) | 351.5 ± 12.4 | 327.6 ± 10.9 | *p* < 0.0001 | | TDS (mg L-1) | 227.2 ± 7.8 | 211.9 ± 7.1 | *p* < 0.0001 | | Chl *a* (μg L-1) | 11.3 ± 14.5 | 3.7 ± 6.5 | *p* = 0.0053 | | PC (μg L-1) | 0.30 ± 0.25 | 0.12 ± 0.11 | *p* = 0.0001 | | ORP (mv) | 41.3 ± 18.6 | -193.2 ± 248 | *p* < 0.0001 | | SD (cm) | 157.5 ± 19.1 | 162.4 ± 105.1 | *p* = 0.8748 | | zmix (m) | 4.0 ± 0.9 | 4.7 ± 2.8 | *p =* 0.7552 | | zmax (m) | 6.7 ± 2.6 | 6.8 ± 2.1 | *p* = 0.9401 | | HRT (day) | 18.0 ± 2.2 | 5.4 ± 0.8 | *p* < 0.0001 | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 10 The summary of the main cyanobacteria specific growth rates under different culture conditions   | Genus/Strain | Nutrient cond. | Light (µE) | Temp. (°C) | Growth rate (d-1) | Ref. | | --- | --- | --- | --- | --- | --- | | *Aphanizomenon aphanizomenoides* |  |  | 28.8 | 0.36 | (Mehnert et al., 2010) | | *Aphanizomenon flos-aquae* |  |  | 25.0 | 1.11 | (Foy et al., 1976) | | *Aphanizomenon flos-aquae* |  |  | 22.0 | 0.16 | (Lehtimaki et al., 1997) | | *Aphanizomenon flos-aquae* |  |  | 24.7 | 0.27 | (Mehnert et al., 2010) | | *Aphanizomenon flos-aquae* |  |  | 30.0 | 0.22 | (Rapala et al., 1993) | | *Aphanizomenon flos-aquae* |  |  | 23.0 | 0.90 | (Tsujimura et al., 2001) | | *Aphanizomenon gracile* |  |  | 27.1 | 0.29 | (Mehnert et al., 2010) | | *Aphanizomenon gracile* |  |  | 20.0 | 0.42 | (Lürling et al., 2013) | | *Aphanizomenon gracile* |  |  | 25.0 | 0.58 | (Lürling et al., 2013) | | *Aphanizomenon gracile* |  |  | 37.5 | 0.81 | (Lürling et al., 2013) | | *Aphanizomenon gracile* |  |  | 12.5 | 0.75 | (Lürling et al., 2013) | | *Aphanizomenon gracile* |  |  | 27.5 | 0.87 | (Lürling et al., 2013) | | *Aphanizomenon gracile* |  |  | 37.5 | 0.85 | (Lürling et al., 2013) | | *Aphanizomenon ovalisporum* |  |  | 32.8 | 0.36 | (Mehnert et al., 2010) | | *Aphanizomenon* sp. |  |  | 25.0 | 0.28 | (Konopka and Brock, 1978) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 10.0 | 25.0 | 0.28 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 22.0 | 25.0 | 0.45 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 26.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 42.0 | 25.0 | 0.57 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 55.0 | 25.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 60.0 | 25.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 70.0 | 25.0 | 0.65 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 90.0 | 25.0 | 0.66 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 110.0 | 25.0 | 0.69 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 145.0 | 25.0 | 0.62 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 175.0 | 25.0 | 0.65 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 220.0 | 25.0 | 0.63 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 295.0 | 25.0 | 0.61 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ACT-9502* | Z8 | 390.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 20.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 28.0 | 0.43 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 28.0 | 0.42 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 30.0 | 28.0 | 0.45 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 28.0 | 0.49 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 28.0 | 0.53 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 50.0 | 28.0 | 0.47 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 28.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C1* | Modified JM | 100.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 28.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 30.0 | 28.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 20.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 20.0 | 0.44 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 28.0 | 0.60 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 28.0 | 0.62 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 50.0 | 28.0 | 0.69 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 20.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 28.0 | 0.43 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C3* | Modified JM | 100.0 | 28.0 | 0.39 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 20.0 | 0.18 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 20.0 | 0.15 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 20.0 | 0.18 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 28.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 28.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 30.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 20.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 50.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 28.0 | 0.44 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 28.0 | 0.44 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C6* | Modified JM | 100.0 | 28.0 | 0.47 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 28.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 28.0 | 0.24 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 10.0 | 28.0 | 0.23 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 30.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 30.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 30.0 | 28.0 | 0.43 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 28.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii C9* | Modified JM | 50.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 20.0 | 0.40 | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 25.0 | 0.74 | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 22.5 | 0.81 | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 27.5 | NA | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 40.0 | 0.79 | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CIRF-01* |  |  | 15.0 | 0.72 | (Lürling et al., 2013) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 20.0 | 0.56 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 25.0 | 0.98 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 30.0 | 1.04 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 35.0 | 0.87 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 20.0 | 0.63 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 25.0 | 1.20 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 30.0 | 1.28 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 35.0 | 0.92 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 20.0 | 0.49 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 25.0 | 0.76 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 30.0 | 0.80 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR1* | ASM-1 | 50.0 | 35.0 | 0.81 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 20.0 | 0.41 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 25.0 | 1.09 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 30.0 | 1.00 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 35.0 | 0.81 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 20.0 | 0.47 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 25.0 | 1.30 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 30.0 | 1.07 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 35.0 | 0.87 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 20.0 | 0.33 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 25.0 | 0.87 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 30.0 | 0.95 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR2* | ASM-1 | 50.0 | 35.0 | 0.75 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 20.0 | 0.00 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 25.0 | 0.45 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 30.0 | 0.54 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 35.0 | 0.45 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 20.0 | 0.00 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 25.0 | 0.70 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 30.0 | 0.59 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 35.0 | 0.46 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 20.0 | 0.00 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 25.0 | 0.20 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 30.0 | 0.54 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR3* | ASM-1 | 50.0 | 35.0 | 0.46 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 20.0 | 0.51 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 25.0 | 0.87 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 30.0 | 1.06 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 35.0 | 0.71 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 20.0 | 0.79 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 25.0 | 1.23 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 30.0 | 1.17 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 35.0 | 0.93 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 20.0 | 0.24 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 25.0 | 0.52 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 30.0 | 0.94 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR4* | ASM-1 | 50.0 | 35.0 | 0.48 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 20.0 | 0.30 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 25.0 | 0.91 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 30.0 | 1.22 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 35.0 | 1.11 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 20.0 | 0.36 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 25.0 | 1.07 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 30.0 | 1.28 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 35.0 | 1.40 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 20.0 | 0.24 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 25.0 | 0.78 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 30.0 | 1.16 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR5* | ASM-1 | 50.0 | 35.0 | 0.81 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 20.0 | 0.37 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 25.0 | 0.86 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 30.0 | 1.13 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 35.0 | 0.90 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 20.0 | 0.38 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 25.0 | 1.15 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 30.0 | 1.32 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 35.0 | 1.03 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 20.0 | 0.37 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 25.0 | 0.57 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 30.0 | 0.97 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR6* | ASM-1 | 50.0 | 35.0 | 0.75 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 20.0 | 0.45 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 25.0 | 0.70 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 30.0 | 1.18 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 35.0 | 1.18 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 20.0 | 0.50 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 25.0 | 0.70 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 30.0 | 1.39 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 35.0 | 1.49 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 20.0 | 0.39 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 25.0 | 0.69 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 30.0 | 0.96 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CR7* | ASM-1 | 50.0 | 35.0 | 0.77 | (Saker and Griffiths, 2000) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 11.0 | 25.0 | 0.33 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 22.0 | 25.0 | 0.49 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 38.0 | 25.0 | 0.61 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 45.0 | 25.0 | 0.62 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 52.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 58.0 | 25.0 | 0.73 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 60.0 | 25.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 68.0 | 25.0 | 0.69 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 135.0 | 25.0 | 0.73 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 160.0 | 25.0 | 0.63 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 211.0 | 25.0 | 0.59 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 265.0 | 25.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii CYP-026J* | Z8 | 380.0 | 25.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 10.0 | 25.0 | 0.33 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 11.0 | 25.0 | 0.26 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 22.0 | 25.0 | 0.47 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 50.0 | 25.0 | 0.73 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 70.0 | 25.0 | 0.73 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 90.0 | 25.0 | 0.74 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 110.0 | 25.0 | 0.79 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 145.0 | 25.0 | 0.71 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 180.0 | 25.0 | 0.74 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 225.0 | 25.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 290.0 | 25.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii ITEP-A3* | Z8 | 400.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 5.0 | 26.0 | 0.12 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 15.0 | 26.0 | 0.35 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 35.0 | 26.0 | 0.49 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 45.0 | 26.0 | 0.53 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 60.0 | 26.0 | 0.54 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 80.0 | 26.0 | 0.59 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 78.0 | 26.0 | 0.65 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 100.0 | 26.0 | 0.71 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 125.0 | 26.0 | 0.39 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 150.0 | 26.0 | 0.73 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 5.0 | 26.0 | 0.23 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 15.0 | 26.0 | 0.45 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 35.0 | 26.0 | 0.53 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 70.0 | 26.0 | 0.50 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 80.0 | 26.0 | 0.69 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 78.0 | 26.0 | 0.87 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 100.0 | 26.0 | 0.59 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 110.0 | 26.0 | 0.51 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 150.0 | 26.0 | 0.46 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 5.0 | 26.0 | 0.14 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 15.0 | 26.0 | 0.40 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 35.0 | 26.0 | 0.58 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 45.0 | 26.0 | 0.45 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 75.0 | 26.0 | 0.65 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 80.0 | 26.0 | 0.76 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 125.0 | 26.0 | 0.38 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 100.0 | 26.0 | 0.74 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 70.0 | 26.0 | 0.55 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 145.0 | 26.0 | 0.53 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 5.0 | 26.0 | 0.18 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 35.0 | 26.0 | 0.52 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 45.0 | 26.0 | 0.46 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 90.0 | 26.0 | 0.57 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 100.0 | 26.0 | 0.72 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 120.0 | 26.0 | 0.73 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii MVCC14* | BG11 | 145.0 | 26.0 | 0.50 | (Bonilla et al., 2012) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 10.0 | 25.0 | 0.26 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 15.0 | 25.0 | 0.33 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 22.0 | 25.0 | 0.47 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 32.0 | 25.0 | 0.39 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 36.0 | 25.0 | 0.59 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 40.0 | 25.0 | 0.45 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 85.0 | 25.0 | 0.45 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 117.0 | 25.0 | 0.50 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 145.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 178.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 210.0 | 25.0 | 0.57 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 245.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 290.0 | 25.0 | 0.57 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 360.0 | 25.0 | 0.55 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 400.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC117.02* | Z8 | 486.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 10.0 | 25.0 | 0.37 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 22.0 | 25.0 | 0.50 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 26.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 42.0 | 25.0 | 0.67 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 51.0 | 25.0 | 0.68 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 55.0 | 25.0 | 0.68 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 75.0 | 25.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 86.0 | 25.0 | 0.72 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 110.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 125.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 165.0 | 25.0 | 0.68 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 200.0 | 25.0 | 0.65 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 280.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 380.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 15.0 | 0.08 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 20.0 | 0.25 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 25.0 | 0.41 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 30.0 | 0.42 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 35.0 | 0.38 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC98.14* | Z8 | 30.0 | 40.0 | 0.17 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 10.0 | 25.0 | 0.32 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 22.0 | 25.0 | 0.44 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 42.0 | 25.0 | 0.53 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 26.0 | 25.0 | 0.49 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 51.0 | 25.0 | 0.54 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 60.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 90.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 110.0 | 25.0 | 0.58 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 125.0 | 25.0 | 0.64 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 140.0 | 25.0 | 0.56 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 175.0 | 25.0 | 0.63 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 210.0 | 25.0 | 0.62 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 275.0 | 25.0 | 0.59 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii PMC99.12* | Z8 | 365.0 | 25.0 | 0.57 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii WC01* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC01* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC01* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC02* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC02* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC02* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 15.0 | 28.0 | 0.22 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 15.0 | 28.0 | 0.21 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 15.0 | 28.0 | 0.20 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 20.0 | 0.18 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 20.0 | 0.19 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 28.0 | 0.23 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 28.0 | 0.23 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 10.0 | 28.0 | 0.24 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 30.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 20.0 | 0.38 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 50.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 20.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 28.0 | 0.43 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 28.0 | 0.44 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC03* | Modified JM | 100.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC04* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC04* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC04* | Modified JM | 15.0 | 28.0 | 0.19 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 20.0 | 0.24 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 28.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 28.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 30.0 | 28.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 20.0 | 0.24 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 28.0 | 0.25 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 28.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 50.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 20.0 | 0.39 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 20.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 28.0 | 0.39 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC05* | Modified JM | 100.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC06* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC06* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC06* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC07* | Modified JM | 15.0 | 28.0 | 0.22 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC07* | Modified JM | 15.0 | 28.0 | 0.21 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC07* | Modified JM | 15.0 | 28.0 | 0.20 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 20.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 20.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 28.0 | 0.25 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 28.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 10.0 | 28.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 30.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 20.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 28.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 50.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 20.0 | 0.22 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 28.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WC09* | Modified JM | 100.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 15.0 | 28.0 | 0.13 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 15.0 | 28.0 | 0.11 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 20.0 | 0.19 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 10.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 28.0 | 0.40 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 30.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 20.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 50.0 | 28.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 20.0 | 0.45 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 20.0 | 0.46 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 20.0 | 0.45 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 28.0 | 0.39 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 28.0 | 0.44 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS01* | Modified JM | 100.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS02* | Modified JM | 15.0 | 28.0 | 0.10 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS02* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS02* | Modified JM | 15.0 | 28.0 | 0.08 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS03* | Modified JM | 15.0 | 28.0 | 0.13 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS03* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS03* | Modified JM | 15.0 | 28.0 | 0.21 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS04* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS04* | Modified JM | 15.0 | 28.0 | 0.21 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS04* | Modified JM | 15.0 | 28.0 | 0.09 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 20.0 | 0.17 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 20.0 | 0.16 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 20.0 | 0.17 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 10.0 | 28.0 | 0.24 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 28.0 | 0.37 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 30.0 | 28.0 | 0.42 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 20.0 | 0.31 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 28.0 | 0.42 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 50.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 20.0 | 0.38 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 28.0 | 0.49 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 28.0 | 0.51 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS05* | Modified JM | 100.0 | 28.0 | 0.51 | (Xiao et al., 2017) | | *Cylindrospermopsis raciborskii WS06* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS06* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS06* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS07* | Modified JM | 15.0 | 28.0 | 0.10 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS07* | Modified JM | 15.0 | 28.0 | 0.11 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS07* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS08* | Modified JM | 15.0 | 28.0 | 0.11 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS08* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS08* | Modified JM | 15.0 | 28.0 | 0.10 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS09* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS09* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS09* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS10* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS10* | Modified JM | 15.0 | 28.0 | 0.13 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS10* | Modified JM | 15.0 | 28.0 | 0.12 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS11* | Modified JM | 15.0 | 28.0 | 0.13 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS11* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS11* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS12* | Modified JM | 15.0 | 28.0 | 0.19 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS12* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS12* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS13* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS13* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS13* | Modified JM | 15.0 | 28.0 | 0.19 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS14* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS14* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS14* | Modified JM | 15.0 | 28.0 | 0.13 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS15* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS15* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS15* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS16* | Modified JM | 15.0 | 28.0 | 0.18 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS16* | Modified JM | 15.0 | 28.0 | 0.17 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS16* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS17* | Modified JM | 15.0 | 28.0 | 0.14 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS17* | Modified JM | 15.0 | 28.0 | 0.15 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii WS17* | Modified JM | 15.0 | 28.0 | 0.16 | (Willis et al., 2016) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 15.0 | -0.08 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 15.0 | -0.08 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 15.0 | -0.10 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 15.0 | -0.09 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 20.0 | 0.17 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 20.0 | 0.17 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 20.0 | 0.16 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 20.0 | 0.17 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 25.0 | 0.40 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 25.0 | 0.39 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 25.0 | 0.39 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 25.0 | 0.39 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 30.0 | 0.53 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 30.0 | 0.52 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 30.0 | 0.51 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 30.0 | 0.52 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 35.0 | 0.45 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 35.0 | 0.44 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 35.0 | 0.43 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaD* | WC | 100.0 | 35.0 | 0.45 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 15.0 | -0.04 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 15.0 | -0.03 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 15.0 | -0.01 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 15.0 | -0.02 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 20.0 | 0.14 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 20.0 | 0.13 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 20.0 | 0.12 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 20.0 | 0.12 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 30.0 | 0.49 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 30.0 | 0.47 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 30.0 | 0.45 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 30.0 | 0.46 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 40.0 | -0.03 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 40.0 | -0.05 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 40.0 | -0.07 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 40.0 | -0.05 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 35.0 | 0.33 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 35.0 | 0.32 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 35.0 | 0.32 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii floridaE* | WC | 100.0 | 35.0 | 0.36 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 15.0 | -0.04 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 15.0 | -0.02 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 15.0 | -0.03 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 15.0 | -0.03 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 20.0 | 0.24 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 20.0 | 0.23 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 20.0 | 0.21 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 20.0 | 0.20 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 25.0 | 0.38 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 25.0 | 0.36 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 25.0 | 0.37 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 25.0 | 0.36 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 35.0 | 0.53 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 35.0 | 0.50 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 35.0 | 0.45 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 35.0 | 0.48 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 30.0 | 0.51 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 30.0 | 0.50 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 30.0 | 0.48 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 30.0 | 0.49 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 40.0 | -0.10 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 40.0 | -0.16 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 40.0 | -0.13 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii indiana* | WC | 100.0 | 40.0 | -0.12 | (Thomas and Litchman, 2015) | | *Cylindrospermopsis raciborskii* |  |  | 30.0 | 0.00 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 29.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 31.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 30.0 | 0.40 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 29.0 | 0.60 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 29.0 | 0.80 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 29.0 | 0.70 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 31.0 | 0.40 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 30.0 | 0.50 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 30.0 | 0.50 | (Briand et al., 2004) | | *Cylindrospermopsis raciborskii* |  |  | 27.8 | 0.34 | (Mehnert et al., 2010) | | *Cylindrospermopsis raciborskii* |  |  | 28.0 | 0.58 | (Saker et al., 1999) | | *Cylindrospermopsis raciborskii* |  |  | 32.0 | 0.71 | (Soares et al., 2010) | | *Cylindrospermopsis raciborskii* |  | 133.4 ± 13.5 | 31.3 ± 19.0 | 0.77 | (Xiao et al., 2020) | | *Dolichospermum aphanizomenoides* |  |  | 35.0 | 1.46 | (Sabour et al., 2009) | | *Dolichospermum bergii* |  |  | 26.5 | 0.25 | (Mehnert et al., 2010) | | *Dolichospermum circinalis Ana318* | ASM | 100.0 | 25.0 | 0.12 | (Li et al., 2012) | | *Dolichospermum circinalis Ana318* | ASM | 10.0 | 25.0 | 0.11 | (Li et al., 2012) | | *Dolichospermum circinalis Ana318* | ASM | 100.0 | 18.0 | 0.13 | (Li et al., 2012) | | *Dolichospermum circinalis Ana318* | ASM | 10.0 | 18.0 | 0.12 | (Li et al., 2012) | | *Dolichospermum flos-aquae* |  |  | 20.0 | 0.78 | (Foy et al., 1976) | | *Dolichospermum flos-aquae* |  |  | 39.0 | 1.01 | (Novak and Brune, 1985) | | *Dolichospermum flos-aquae* |  |  | 20.0 | 0.20 | (Rapala et al., 1993) | | *Dolichospermum flos-aquae* |  |  | 20.0 | 0.19 | (Rapala et al., 1993) | | *Dolichospermum macrospora* |  |  | 25.5 | 0.19 | (Mehnert et al., 2010) | | *Dolichospermum mendotae* |  |  | 20.0 | 0.20 | (Rapala et al., 1993) | | *Dolichospermum smithii* | CT | 60.0 | 28.0 | 0.21 | (Shen et al., 2020) | | *Dolichospermum smithii* | CT(N elevated) | 60.0 | 28.0 | 0.22 | (Shen et al., 2020) | | *Dolichospermum spiroides* |  |  | 24.0 | 0.77 | (Seki et al., 1981) | | *Dolichospermum ucrainica CHAB 2155* | CT | 30.0 | 10.0 | -0.04 | (Wang and Li, 2015) | | *Dolichospermum ucrainica CHAB 2155* | CT | 30.0 | 25.0 | 0.09 | (Wang and Li, 2015) | | *Dolichospermum ucrainica CHAB 2155* | CT | 30.0 | 35.0 | 0.10 | (Wang and Li, 2015) | | *Dolichospermum ucrainica CHAB 2155* | CT | 10.0 | 25.0 | 0.08 | (Wang and Li, 2015) | | *Dolichospermum ucrainica CHAB 2155* | CT | 60.0 | 25.0 | 0.10 | (Wang and Li, 2015) | | *Dolichospermum ukrainica* |  |  | 26.0 | 0.78 | (Tsujimura and Okubo, 2003) | | *Dolichospermum variabilis* |  |  | 35.0 | 1.20 | (Kratz and Myers, 1955) | | *Dolichospermum variabilis* |  |  | 30.0 | 0.15 | (Wang et al., 2007) | | *Dolichospermum* sp. |  |  | 25.0 | 0.13 | (Konopka and Brock, 1978) | | *Dolichospermum* sp. |  |  | 32.0 | 1.25 | (Nalewajko and Murphy, 2001) | | *Dolichospermum* sp. |  |  | 20.0 | 0.15 | (Rapala et al., 1997) | | *Dolichospermum* sp. |  |  | 25.0 | 0.14 | (Rapala et al., 1997) | | *Dolichospermum* sp. |  |  | 28.0 | 0.80 | (Vincent and Silvester, 1979) | | *Dolichospermum sp. PCC7122* |  |  | 20.0 | 0.46 | (Lürling et al., 2013) | | *Dolichospermum sp. PCC7122* |  |  | 25.0 | 0.93 | (Lürling et al., 2013) | | *Dolichospermum sp. PCC7122* |  |  | 27.5 | 0.75 | (Lürling et al., 2013) | | *Dolichospermum sp. PCC7122* |  |  | 30.0 | NA | (Lürling et al., 2013) | | *Dolichospermum sp. PCC7122* |  |  | 32.5 | 0.53 | (Lürling et al., 2013) | | *Dolichospermum sp. PCC7122* |  |  | 35.0 | 0.58 | (Lürling et al., 2013) | | *Limnothrix redeckei* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.15 | (Tiwari et al., 2001) | | *Limnothrix redekei* | MV-NH4 | 120.0 | 10.0 | 0.17 | (Nicklisch, 1999) | | *Limnothrix redekei* | MV-NH4 | 120.0 | 15.0 | 0.53 | (Nicklisch, 1999) | | *Limnothrix redekei* |  |  |  | 0.10 | (Nicklisch, 1992) | | *Limnothrix redekei* |  | 24.0 | 15.0 | 0.52 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  | 32.0 | 15.0 | 0.37 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  | 27.0 | 15.0 | 0.31 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 15.0 | 0.21 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 15.0 | 0.22 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 10.0 | 0.32 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 20.0 | 0.70 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 10.0 | 0.22 | (Shatwell et al., 2012) | | *Limnothrix redekei* |  |  | 20.0 | 0.51 | (Shatwell et al., 2012) | | *Limnothrix redekei* | Modified MIV | 122.0 | 20.0 | 0.47 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 75.0 | 20.0 | 0.37 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 122.0 | 20.0 | 0.53 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 134.0 | 20.0 | 0.80 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 56.0 | 20.0 | 0.70 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 254.0 | 20.0 | 0.50 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 60.0 | 20.0 | 1.11 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 183.0 | 20.0 | 0.69 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 270.0 | 20.0 | 0.70 | (Nicklisch, 1998) | | *Limnothrix redekei* | Modified MIV | 427.0 | 20.0 | 0.28 | (Nicklisch, 1998) | | *Lyngbya dendrobia* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.06 | (Tiwari et al., 2001) | | *Lyngbya kuetzinghii* |  |  | 25.0 | 0.14 | (Zhang et al., 2009) | | *Lyngbya lachneri* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.08 | (Tiwari et al., 2001) | | *Lyngbya majuscula* |  |  |  | 0.33 | (Elmetri and Bell, 2004) | | *Lyngbya majuscula* |  |  |  | 0.25 | (Elmetri and Bell, 2004) | | *Lyngbya majuscula* |  |  |  | 0.19 | (Elmetri and Bell, 2004) | | *Lyngbya majuscula* |  |  |  | 0.14 | (Elmetri and Bell, 2004) | | *Lyngbya majuscula* |  |  |  | 0.04 | (Elmetri and Bell, 2004) | | *Lyngbya majuscula* |  |  |  | 0.05 | (Elmetri and Bell, 2004) | | *Lyngbya nigra* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.18 | (Tiwari et al., 2001) | | *Lyngbya palmarum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.28 | (Tiwari et al., 2001) | | *Lyngbya spiralis* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.22 | (Tiwari et al., 2001) | | *Lyngbya truncicola* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.12 | (Tiwari et al., 2001) | | *Microcoleus chthonoplastes MPI CHI-1* | BG11 | 35.0 | 25.0 | 0.55 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI CHI-1* | BG11 | 35.0 | 25.0 | 0.47 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI CHI-1* | BG11 | 35.0 | 25.0 | 0.28 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI EBD-1* | BG11 | 35.0 | 25.0 | 0.24 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI EBD-1* | BG11 | 35.0 | 25.0 | 0.26 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI EBD-1* | BG11 | 35.0 | 25.0 | 0.18 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GN5-1* | BG11 | 35.0 | 25.0 | 0.21 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GN5-1* | BG11 | 35.0 | 25.0 | 0.23 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GN5-1* | BG11 | 35.0 | 25.0 | 0.17 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GNL-1* | BG11 | 35.0 | 25.0 | 0.23 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GNL-1* | BG11 | 35.0 | 25.0 | 0.29 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI GNL-1* | BG11 | 35.0 | 25.0 | 0.24 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SOL-1* | BG11 | 35.0 | 25.0 | 0.13 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SOL-1* | BG11 | 35.0 | 25.0 | 0.17 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SOL-1* | BG11 | 35.0 | 25.0 | 0.20 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SPW-1* | BG11 | 35.0 | 25.0 | 0.29 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SPW-1* | BG11 | 35.0 | 25.0 | 0.29 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI SPW-1* | BG11 | 35.0 | 25.0 | 0.18 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI TOW-1* | BG11 | 35.0 | 25.0 | 0.35 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI TOW-1* | BG11 | 35.0 | 25.0 | 0.35 | (Karsten, 1996) | | *Microcoleus chthonoplastes MPI TOW-1* | BG11 | 35.0 | 25.0 | 0.33 | (Karsten, 1996) | | *Microcoleus chthonoplastes PCC 7420* | BG11 | 35.0 | 25.0 | 0.42 | (Karsten, 1996) | | *Microcoleus chthonoplastes PCC 7420* | BG11 | 35.0 | 25.0 | 0.46 | (Karsten, 1996) | | *Microcoleus chthonoplastes PCC 7420* | BG11 | 35.0 | 25.0 | 0.21 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM HID* | BG11 | 35.0 | 25.0 | 0.42 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM HID* | BG11 | 35.0 | 25.0 | 0.35 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM HID* | BG11 | 35.0 | 25.0 | 0.25 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM WIS* | BG11 | 35.0 | 25.0 | 0.54 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM WIS* | BG11 | 35.0 | 25.0 | 0.46 | (Karsten, 1996) | | *Microcoleus chthonoplastes UBM WIS* | BG11 | 35.0 | 25.0 | 0.16 | (Karsten, 1996) | | *Microcoleus chthonoplastes* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.20 | (Tiwari et al., 2001) | | *Microcoleus paludosus* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.17 | (Tiwari et al., 2001) | | *Microcoleus spp.* |  |  |  | 0.03 | (Lababpour and Kaviani, 2016) | | *Microcoleus spp.* |  |  |  | 0.06 | (Lababpour and Kaviani, 2016) | | *Microcoleus steenstrupii HS024* |  |  |  | 3.22 | (Giraldo-Silva et al., 2019) | | *Microcoleus steenstrupii HS024* |  |  |  | 0.30 | (Giraldo-Silva et al., 2019) | | *Microcoleus steenstrupii HS024* |  |  |  | 0.30 | (Giraldo-Silva et al., 2019) | | *Microcoleus steenstrupii JS010* |  |  |  | 1.37 | (Giraldo-Silva et al., 2019) | | *Microcoleus steenstrupii JS010* |  |  |  | -1.00 | (Giraldo-Silva et al., 2019) | | *Microcoleus steenstrupii JS010* |  |  |  | 14.80 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus FB020* |  |  |  | 1.17 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus FB020* |  |  |  | 1.80 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus FB020* |  |  |  | 0.50 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus HSN003* |  |  |  | 2.12 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus HSN003* |  |  |  | 0.60 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus HSN003* |  |  |  | 0.30 | (Giraldo-Silva et al., 2019) | | *Microcoleus vaginatus* |  |  | 21.0 | 0.22 | (Novak and Brune, 1985) | | *Microcystis aeruginosa CYA140* |  |  | 20.0 | 0.26 | (Lürling et al., 2013) | | *Microcystis aeruginosa CYA140* |  |  | 25.0 | 0.77 | (Lürling et al., 2013) | | *Microcystis aeruginosa CYA140* |  |  | 22.5 | 0.82 | (Lürling et al., 2013) | | *Microcystis aeruginosa CYA140* |  |  | 27.5 | 0.94 | (Lürling et al., 2013) | | *Microcystis aeruginosa CYA140* |  |  | 25.0 | 0.93 | (Lürling et al., 2013) | | *Microcystis aeruginosa CYA140* |  |  | 30.0 | 0.70 | (Lürling et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 15.0 | 0.29 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 15.0 | 0.31 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 15.0 | 0.30 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.51 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.53 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.54 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.56 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.55 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.56 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 30.0 | 0.72 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 30.0 | 0.68 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 30.0 | 0.66 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 35.0 | 0.79 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 35.0 | 0.77 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 35.0 | 0.78 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 10.0 | 25.0 | 0.33 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 10.0 | 25.0 | 0.31 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 10.0 | 25.0 | 0.29 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 15.0 | 25.0 | 0.35 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 15.0 | 25.0 | 0.33 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 15.0 | 25.0 | 0.35 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.43 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.42 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.43 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.62 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.62 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.63 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.63 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.63 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.62 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.63 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.62 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.63 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.69 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.70 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.69 | (Marinho et al., 2013) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 20.0 | 0.33 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 20.0 | 0.34 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 20.0 | 0.32 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.41 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.39 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 20.0 | 0.37 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 20.0 | 0.42 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 20.0 | 0.41 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 20.0 | 0.40 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 20.0 | 0.44 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 20.0 | 0.46 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 20.0 | 0.43 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 20.0 | 0.52 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 20.0 | 0.54 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 20.0 | 0.50 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 20.0 | 0.53 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 20.0 | 0.55 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 20.0 | 0.51 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 20.0 | 0.56 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 20.0 | 0.58 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 20.0 | 0.53 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 20.0 | 0.56 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 20.0 | 0.55 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 20.0 | 0.58 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.52 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.54 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 25.0 | 25.0 | 0.51 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.54 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.56 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 30.0 | 25.0 | 0.53 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 25.0 | 0.56 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 25.0 | 0.57 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 35.0 | 25.0 | 0.54 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.60 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.61 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 40.0 | 25.0 | 0.58 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 25.0 | 0.60 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 25.0 | 0.61 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 45.0 | 25.0 | 0.59 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.61 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.62 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 50.0 | 25.0 | 0.60 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.62 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.63 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 55.0 | 25.0 | 0.61 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.63 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.65 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB469* | BG11 | 60.0 | 25.0 | 0.62 | (Li et al., 2014) | | *Microcystis aeruginosa FACHB905* | Modified BG11 | 50.0 | 25.0 | 0.11 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB905* | Modified BG11 | 50.0 | 25.0 | 0.11 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB905* | Modified BG11 | 50.0 | 25.0 | 0.10 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB909* | Modified BG11 | 50.0 | 25.0 | 0.18 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB909* | Modified BG11 | 50.0 | 25.0 | 0.20 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB909* | Modified BG11 | 50.0 | 25.0 | 0.15 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB938* | Modified BG11 | 50.0 | 25.0 | 0.15 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB938* | Modified BG11 | 50.0 | 25.0 | 0.16 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB938* | Modified BG11 | 50.0 | 25.0 | 0.14 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB939* | Modified BG11 | 50.0 | 25.0 | 0.13 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB939* | Modified BG11 | 50.0 | 25.0 | 0.14 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB939* | Modified BG11 | 50.0 | 25.0 | 0.13 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB942* | Modified BG11 | 50.0 | 25.0 | 0.13 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB942* | Modified BG11 | 50.0 | 25.0 | 0.14 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB942* | Modified BG11 | 50.0 | 25.0 | 0.12 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB975* | Modified BG11 | 50.0 | 25.0 | 0.17 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB975* | Modified BG11 | 50.0 | 25.0 | 0.19 | (Shen and Song, 2007) | | *Microcystis aeruginosa FACHB975* | Modified BG11 | 50.0 | 25.0 | 0.21 | (Shen and Song, 2007) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 15.0 | 0.05 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 15.0 | 0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 15.0 | 0.03 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 15.0 | 0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 20.0 | 0.16 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 20.0 | 0.15 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 20.0 | 0.14 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 20.0 | 0.15 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 25.0 | 0.36 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 25.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 25.0 | 0.34 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 25.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 30.0 | 0.37 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 30.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 30.0 | 0.36 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 30.0 | 0.36 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 35.0 | -0.12 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 35.0 | -0.14 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 35.0 | -0.14 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullB00* | WC | 100.0 | 35.0 | -0.13 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 15.0 | 0.06 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 15.0 | 0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 15.0 | 0.03 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 15.0 | 0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 20.0 | 0.13 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 20.0 | 0.11 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 20.0 | 0.10 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 20.0 | 0.12 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 25.0 | 0.39 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 25.0 | 0.38 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 25.0 | 0.37 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 25.0 | 0.38 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 30.0 | 0.40 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 30.0 | 0.38 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 30.0 | 0.37 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 30.0 | 0.38 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 35.0 | -0.14 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 35.0 | -0.15 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 35.0 | -0.16 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa GullK00* | WC | 100.0 | 35.0 | -0.15 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa LMECYA* | Z8 | 4.0 | 20.0 | 0.07 | (Salvador et al., 2016) | | *Microcystis aeruginosa LMECYA* | Z8 | 20.0 | 20.0 | 0.11 | (Salvador et al., 2016) | | *Microcystis aeruginosa LMECYA* | Z8 | 30.0 | 20.0 | 0.12 | (Salvador et al., 2016) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 20.0 | 0.22 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 30.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 20.0 | 0.33 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 28.0 | 0.42 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 50.0 | 28.0 | 0.42 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 20.0 | 0.39 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 28.0 | 0.45 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M2* | Modified JM | 100.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 28.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 28.0 | 0.28 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 10.0 | 28.0 | 0.26 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 28.0 | 0.29 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 28.0 | 0.29 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 30.0 | 28.0 | 0.28 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 20.0 | 0.38 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 20.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 28.0 | 0.33 | (Xiao et al., 2017) | | *Microcystis aeruginosa M3* | Modified JM | 100.0 | 28.0 | 0.34 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 20.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 20.0 | 0.18 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 20.0 | 0.20 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 28.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 28.0 | 0.28 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 10.0 | 28.0 | 0.25 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 28.0 | 0.28 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 28.0 | 0.29 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 30.0 | 28.0 | 0.26 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 20.0 | 0.34 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 20.0 | 0.33 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 20.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 50.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 20.0 | 0.45 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 20.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 20.0 | 0.45 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 28.0 | 0.35 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Microcystis aeruginosa M4* | Modified JM | 100.0 | 28.0 | 0.32 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 20.0 | 0.28 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 20.0 | 0.26 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 28.0 | 0.16 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 28.0 | 0.21 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 10.0 | 28.0 | 0.20 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 20.0 | 0.24 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 20.0 | 0.24 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 20.0 | 0.23 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 28.0 | 0.30 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 30.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 28.0 | 0.41 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 28.0 | 0.38 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 20.0 | 0.27 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 20.0 | 0.29 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 50.0 | 20.0 | 0.30 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 20.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 20.0 | 0.32 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 20.0 | 0.37 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 28.0 | 0.31 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa M5* | Modified JM | 100.0 | 28.0 | 0.36 | (Xiao et al., 2017) | | *Microcystis aeruginosa MIC-03* | Modified WC | 10.0 | 24.0 | 0.28 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 10.0 | 24.0 | 0.26 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 10.0 | 24.0 | 0.26 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 60.0 | 24.0 | 0.54 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 60.0 | 24.0 | 0.53 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 60.0 | 24.0 | 0.55 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 100.0 | 24.0 | 0.45 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 100.0 | 24.0 | 0.45 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 100.0 | 24.0 | 0.45 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 500.0 | 24.0 | 0.39 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 500.0 | 24.0 | 0.41 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 500.0 | 24.0 | 0.37 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 40.0 | 24.0 | 0.47 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 40.0 | 24.0 | 0.46 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-03* | Modified WC | 40.0 | 24.0 | 0.45 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 10.0 | 24.0 | 0.29 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 10.0 | 24.0 | 0.28 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 10.0 | 24.0 | 0.29 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 60.0 | 24.0 | 0.45 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 60.0 | 24.0 | 0.43 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 60.0 | 24.0 | 0.47 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 100.0 | 24.0 | 0.56 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 100.0 | 24.0 | 0.56 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 100.0 | 24.0 | 0.56 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 500.0 | 24.0 | 0.58 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 500.0 | 24.0 | 0.59 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 500.0 | 24.0 | 0.56 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 40.0 | 24.0 | 0.54 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 40.0 | 24.0 | 0.58 | (Torres et al., 2016) | | *Microcystis aeruginosa MIC-08* | Modified WC | 40.0 | 24.0 | 0.51 | (Torres et al., 2016) | | *Microcystis aeruginosa MIRF* | ASM-1 | 100.0 | 25.0 | 0.61 | (Mello et al., 2012) | | *Microcystis aeruginosa MIRF* | ASM-1 | 100.0 | 25.0 | 0.63 | (Mello et al., 2012) | | *Microcystis aeruginosa MIRF* | ASM-1 | 100.0 | 25.0 | 0.58 | (Mello et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.49 | (Briand et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.45 | (Briand et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.53 | (Briand et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.11 | (Briand et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.10 | (Briand et al., 2012) | | *Microcystis aeruginosa MT2PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.12 | (Briand et al., 2012) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 4.0 | 20.0 | 0.05 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 4.0 | 20.0 | 0.05 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 4.0 | 20.0 | 0.04 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 9.0 | 20.0 | 0.11 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 9.0 | 20.0 | 0.10 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 9.0 | 20.0 | 0.10 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 11.0 | 20.0 | 0.12 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 11.0 | 20.0 | 0.11 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 11.0 | 20.0 | 0.11 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 20.0 | 20.0 | 0.17 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 20.0 | 20.0 | 0.15 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 20.0 | 20.0 | 0.17 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 30.0 | 20.0 | 0.22 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 30.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 30.0 | 20.0 | 0.19 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 65.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 65.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 65.0 | 20.0 | 0.19 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 90.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 90.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 90.0 | 20.0 | 0.19 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 105.0 | 20.0 | 0.23 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 105.0 | 20.0 | 0.22 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 105.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 25.0 | 20.0 | 0.18 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 25.0 | 20.0 | 0.16 | (Hesse et al., 2001) | | *Microcystis aeruginosa MTPCC7806* | MIV/2 | 25.0 | 20.0 | 0.15 | (Hesse et al., 2001) | | *Microcystis aeruginosa Ma17D* | BG11 | 15.0 | 20.0 | 0.20 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma17D* | BG11 | 15.0 | 20.0 | 0.19 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma17D* | BG11 | 15.0 | 20.0 | 0.21 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma17D* | BG11 | 176.0 | 20.0 | 0.09 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma17D* | BG11 | 176.0 | 20.0 | 0.10 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma17D* | BG11 | 176.0 | 20.0 | 0.08 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 15.0 | 20.0 | 0.24 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 15.0 | 20.0 | 0.24 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 15.0 | 20.0 | 0.23 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 176.0 | 20.0 | 0.17 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 176.0 | 20.0 | 0.17 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma2M* | BG11 | 176.0 | 20.0 | 0.16 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 15.0 | 20.0 | 0.20 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 15.0 | 20.0 | 0.24 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 15.0 | 20.0 | 0.17 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 176.0 | 20.0 | 0.17 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 176.0 | 20.0 | 0.18 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa Ma5D* | BG11 | 176.0 | 20.0 | 0.17 | (Bañares-España et al., 2012) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 20.0 | 0.26 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 20.0 | 0.23 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 20.0 | 0.29 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 25.0 | 0.77 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 25.0 | 0.79 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 25.0 | 0.75 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 27.5 | 0.82 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 27.5 | 0.83 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 27.5 | 0.85 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 30.0 | 0.94 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 30.0 | 0.95 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 30.0 | 0.97 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 32.5 | 0.93 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 32.5 | 0.95 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 32.5 | 0.91 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 35.0 | 0.70 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 35.0 | 0.71 | (Lürling et al., 2013) | | *Microcystis aeruginosa NIVA-CYA140* | Modified WC | 80.0 | 35.0 | 0.69 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.46 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.43 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 39.0 | 22.0 | 0.49 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.12 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.11 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 5.0 | 22.0 | 0.13 | (Briand et al., 2012) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 4.0 | 20.0 | 0.06 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 4.0 | 20.0 | 0.06 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 4.0 | 20.0 | 0.07 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 9.0 | 20.0 | 0.10 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 9.0 | 20.0 | 0.11 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 9.0 | 20.0 | 0.10 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 11.0 | 20.0 | 0.14 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 11.0 | 20.0 | 0.15 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 11.0 | 20.0 | 0.14 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 25.0 | 20.0 | 0.19 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 25.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 25.0 | 20.0 | 0.18 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 35.0 | 20.0 | 0.22 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 35.0 | 20.0 | 0.23 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 35.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 70.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 70.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 70.0 | 20.0 | 0.19 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 90.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 90.0 | 20.0 | 0.22 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 90.0 | 20.0 | 0.20 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 105.0 | 20.0 | 0.22 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 105.0 | 20.0 | 0.23 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | MIV/2 | 105.0 | 20.0 | 0.21 | (Hesse et al., 2001) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 50.0 | 25.0 | 0.15 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 50.0 | 25.0 | 0.16 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7806* | Modified BG11 | 50.0 | 25.0 | 0.14 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7806* | O2-medium | 9.0 | 22.0 | 0.20 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 9.0 | 22.0 | 0.18 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 9.0 | 22.0 | 0.21 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 13.0 | 22.0 | 0.17 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 13.0 | 22.0 | 0.17 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 13.0 | 22.0 | 0.17 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 20.0 | 22.0 | 0.26 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 20.0 | 22.0 | 0.23 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 20.0 | 22.0 | 0.29 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 30.0 | 22.0 | 0.28 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 30.0 | 22.0 | 0.27 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 30.0 | 22.0 | 0.29 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 38.0 | 22.0 | 0.36 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 38.0 | 22.0 | 0.34 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 38.0 | 22.0 | 0.39 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 43.0 | 22.0 | 0.38 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 43.0 | 22.0 | 0.35 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 43.0 | 22.0 | 0.40 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 65.0 | 22.0 | 0.34 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 65.0 | 22.0 | 0.34 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 65.0 | 22.0 | 0.34 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 125.0 | 22.0 | 0.38 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 125.0 | 22.0 | 0.36 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 125.0 | 22.0 | 0.41 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 150.0 | 22.0 | 0.33 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 150.0 | 22.0 | 0.28 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 150.0 | 22.0 | 0.38 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 250.0 | 22.0 | 0.37 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 250.0 | 22.0 | 0.33 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 250.0 | 22.0 | 0.41 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 255.0 | 22.0 | 0.35 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 255.0 | 22.0 | 0.29 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 255.0 | 22.0 | 0.42 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 400.0 | 22.0 | 0.32 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 400.0 | 22.0 | 0.32 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7806* | O2-medium | 400.0 | 22.0 | 0.32 | (Wiedner et al., 2003) | | *Microcystis aeruginosa PCC7820* | Modified BG11 | 50.0 | 25.0 | 0.10 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7820* | Modified BG11 | 50.0 | 25.0 | 0.12 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7820* | Modified BG11 | 50.0 | 25.0 | 0.09 | (Shen and Song, 2007) | | *Microcystis aeruginosa PCC7941* |  |  | 20.0 | 0.58 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* |  |  | 25.0 | 0.67 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* |  |  | 22.5 | 1.05 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* |  |  | 27.5 | NA | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* |  |  | 25.0 | 1.16 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* |  |  | 30.0 | 1.01 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 20.0 | 0.58 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 20.0 | 0.57 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 20.0 | 0.59 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 25.0 | 0.67 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 25.0 | 0.72 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 25.0 | 0.62 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 27.5 | 1.05 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 27.5 | 1.04 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 27.5 | 1.06 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 32.5 | 1.16 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 32.5 | 1.16 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 32.5 | 1.16 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 35.0 | 1.01 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 35.0 | 1.02 | (Lürling et al., 2013) | | *Microcystis aeruginosa PCC7941* | Modified WC | 80.0 | 35.0 | 1.00 | (Lürling et al., 2013) | | *Microcystis aeruginosa UTEXLB2061* | WC | 135.0 | 25.0 | 0.50 | (Sugimoto et al., 2015) | | *Microcystis aeruginosa UTEXLB2061* | WC | 135.0 | 25.0 | 0.48 | (Sugimoto et al., 2015) | | *Microcystis aeruginosa UTEXLB2061* | WC | 135.0 | 25.0 | 0.49 | (Sugimoto et al., 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | 0.00 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | 0.01 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | 0.01 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | 0.00 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.21 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.22 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.21 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.21 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.39 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.41 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.40 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.40 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.34 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.35 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | 0.68 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | 0.66 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | 0.67 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | 0.67 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 40.0 | -0.21 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 40.0 | -0.20 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 40.0 | -0.23 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 40.0 | -0.21 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | -0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | -0.05 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | -0.02 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 15.0 | -0.04 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.13 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.12 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.10 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 20.0 | 0.12 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.26 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.24 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.25 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 25.0 | 0.25 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.28 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.27 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.26 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 30.0 | 0.27 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | -0.15 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | -0.16 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | -0.17 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa bear AC02* | WC | 100.0 | 35.0 | -0.16 | (Thomas and Litchman, 2015) | | *Microcystis aeruginosa* |  |  | 30.0 | 0.81 | (Chu et al., 2007) | | *Microcystis aeruginosa* |  |  | 30.0 | 1.09 | (Coles and Jones, 2000) | | *Microcystis aeruginosa* |  |  | 30.0 | 0.45 | (Imai et al., 2009) | | *Microcystis aeruginosa* |  |  | 32.0 | 1.60 | (Nalewajko and Murphy, 2001) | | *Microcystis aeruginosa* |  |  | 27.5 | 0.80 | (Nicklisch and Kohl, 1983) | | *Microcystis aeruginosa* |  |  | 35.0 | 1.06 | (OHKUBO et al., 1991) | | *Microcystis aeruginosa* |  |  | 25.0 | 0.19 | (Sivonen et al., 1990) | | *Microcystis aeruginosa* |  |  | 25.0 | 0.36 | (Staehr and Birkeland, 2006) | | *Microcystis aeruginosa* |  |  | 32.0 | 0.59 | (Watanabe and Oishi, 1985) | | *Microcystis aeruginosa* |  |  | 32.0 | 0.81 | (Westhuizen and Eloff, 1985) | | *Microcystis aeruginosa* |  | 77.3 ± 11.4 | 30.0 ± 18.2 | 0.52 | (Xiao et al., 2020) | | *Microcystis agardhii* | Z8 | 4.0 | 20.0 | 0.06 | (Salvador et al., 2016) | | *Microcystis agardhii* | Z8 | 20.0 | 20.0 | 0.09 | (Salvador et al., 2016) | | *Microcystis agardhii* | Z8 | 30.0 | 20.0 | 0.09 | (Salvador et al., 2016) | | *Microcystis ichthyoblabe* |  |  | 35.0 | 1.32 | (Sabour et al., 2009) | | *Microcystis ma* | MLA | 60.0 | 27.0 | 0.57 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 27.0 | 0.64 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 27.0 | 0.50 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 30.0 | 0.32 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 30.0 | 0.37 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 30.0 | 0.26 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 33.0 | 0.55 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 33.0 | 0.38 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 33.0 | 0.73 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 36.0 | 0.68 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 36.0 | 0.65 | (Mowe et al., 2015) | | *Microcystis ma* | MLA | 60.0 | 36.0 | 0.62 | (Mowe et al., 2015) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 15.0 | 0.03 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 25.0 | 0.25 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 35.0 | 0.26 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 15.0 | 0.04 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 25.0 | 0.25 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 35.0 | 0.27 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 15.0 | 0.03 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 25.0 | 0.25 | (Wu et al., 2011) | | *Microcystis sp. FACHB1271* | CT | 25.0 | 35.0 | 0.26 | (Wu et al., 2011) | | *Microcystis viridis* |  |  | 25.0 | 0.17 | (OHKUBO et al., 1991) | | *Microcystis viridis* |  |  | 30.0 | 0.52 | (OHKUBO et al., 1991) | | *Microcystis wesenbergii* |  |  | 35.0 | 0.22 | (Imai et al., 2009) | | *Microcystis wesenbergii* |  |  | 35.0 | 1.50 | (OHKUBO et al., 1991) | | *Microcystis* sp. |  |  | 25.0 | 0.35 | (Konopka and Brock, 1978) | | *Oscillatoria acuminata* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.24 | (Tiwari et al., 2001) | | *Oscillatoria agardhii* |  |  | 30.0 | 1.12 | (Foy et al., 1976) | | *Oscillatoria agardhii* |  |  | 25.0 | 0.23 | (Sivonen et al., 1990) | | *Oscillatoria agardhii* |  |  | 35.0 | 0.64 | (TALBOT, 1991) | | *Oscillatoria agardhii* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.09 | (Tiwari et al., 2001) | | *Oscillatoria annae* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.17 | (Tiwari et al., 2001) | | *Oscillatoria brevis* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.15 | (Tiwari et al., 2001) | | *Oscillatoria cf. chalybea* | BG11 | 40.0 | 21.5 ~ 28 | 0.31 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 40.0 | 19.0 | 0.12 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 80.0 | 28.0 | 0.62 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 73.0 | 28.0 | 0.59 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 65.3 | 28.0 | 0.50 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 40.4 | 28.0 | 0.28 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 31.9 | 28.0 | 0.31 | (Van Der Ploeg et al., 1995) | | *Oscillatoria cf. chalybea* | BG11 | 30.3 | 28.0 | 0.19 | (Van Der Ploeg et al., 1995) | | *Oscillatoria limosa Agardh ex Gomont* | CT | 30.0 | 15.0 | 0.26 | (Cai et al., 2017) | | *Oscillatoria limosa Agardh ex Gomont* | CT | 30.0 | 25.0 | 0.28 | (Cai et al., 2017) | | *Oscillatoria limosa Agardh ex Gomont* | CT | 30.0 | 35.0 | 0.12 | (Cai et al., 2017) | | *Oscillatoria limosa Agardh ex Gomont* | CT | 60.0 | 25.0 | 0.32 | (Cai et al., 2017) | | *Oscillatoria limosa Agardh ex Gomont* | CT | 10.0 | 25.0 | 0.26 | (Cai et al., 2017) | | *Oscillatoria limosa* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.14 | (Tiwari et al., 2001) | | *Oscillatoria mougeotii* |  |  | 30.0 | 0.56 | (Chu et al., 2007) | | *Oscillatoria priestleyi O-salt* | BG20 | 225.0 | 20.0 | 0.29 | (Tang et al., 1997) | | *Oscillatoria proteus* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.07 | (Tiwari et al., 2001) | | *Oscillatoria redekei* |  |  | 25.0 | 1.32 | (Foy et al., 1976) | | *Oscillatoria sancta* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.08 | (Tiwari et al., 2001) | | *Oscillatoria simplicissima* |  |  | 28.0 | 0.22 | (Venter et al., 2003) | | *Oscillatoria simplicissima* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.10 | (Tiwari et al., 2001) | | *Oscillatoria sp. E17* | BG18 | 225.0 | 18.3 | 0.23 | (Tang et al., 1997) | | *Oscillatoria sp. O-201* | BG32 | 225.0 | 15.0 | 0.19 | (Tang et al., 1997) | | *Oscillatoria vizagapatensis* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.06 | (Tiwari et al., 2001) | | *Oscillatoria* sp. |  |  | 25.0 | 1.11 | (Coles and Jones, 2000) | | *Oscillatoria* sp. |  |  | 27.0 | 0.36 | (Novak and Brune, 1985) | | *Phormidium amoenum Pho012* | ASM | 100.0 | 25.0 | 0.15 | (Li et al., 2012) | | *Phormidium amoenum Pho012* | ASM | 10.0 | 25.0 | 0.07 | (Li et al., 2012) | | *Phormidium amoenum Pho012* | ASM | 100.0 | 18.0 | 0.08 | (Li et al., 2012) | | *Phormidium amoenum Pho012* | ASM | 10.0 | 18.0 | 0.10 | (Li et al., 2012) | | *Phormidium angustissimum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.10 | (Tiwari et al., 2001) | | *Phormidium autumnale O-152* | BG28 | 225.0 | 24.9 | 0.15 | (Tang et al., 1997) | | *Phormidium autumnale O-154* | BG29 | 225.0 | 25.0 | 0.12 | (Tang et al., 1997) | | *Phormidium bohneri* |  |  | 35.0 | 1.59 | (TALBOT, 1991) | | *Phormidium bohneri* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.21 | (Tiwari et al., 2001) | | *Phormidium foveolarum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.22 | (Tiwari et al., 2001) | | *Phormidium fragile* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.18 | (Tiwari et al., 2001) | | *Phormidium murrayi O-099* | BG24 | 225.0 | 20.0 | 0.37 | (Tang et al., 1997) | | *Phormidium rubroterricola* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.12 | (Tiwari et al., 2001) | | *Phormidium sp. E12* | BG17 | 225.0 | 24.9 | 0.24 | (Tang et al., 1997) | | *Phormidium sp. E18* | BG19 | 225.0 | 20.2 | 0.29 | (Tang et al., 1997) | | *Phormidium sp. E6a* | BG13 | 225.0 | 17.7 | 0.17 | (Tang et al., 1997) | | *Phormidium sp. E7* | BG14 | 225.0 | 20.8 | 0.16 | (Tang et al., 1997) | | *Phormidium sp. ElIb* | BG16 | 225.0 | 18.6 | 0.28 | (Tang et al., 1997) | | *Phormidium sp. Ella* | BG15 | 225.0 | 25.5 | 0.17 | (Tang et al., 1997) | | *Phormidium sp. F5* | BG12 | 225.0 | 20.1 | 0.19 | (Tang et al., 1997) | | *Phormidium sp. F9* | BG11 | 225.0 | 17.9 | 0.20 | (Tang et al., 1997) | | *Phormidium sp. O-025* | BG21 | 225.0 | 16.1 | 0.20 | (Tang et al., 1997) | | *Phormidium sp. O-042* | BG22 | 225.0 | 15.0 | 0.31 | (Tang et al., 1997) | | *Phormidium sp. O-043* | BG23 | 225.0 | 18.9 | 0.21 | (Tang et al., 1997) | | *Phormidium sp. O-104* | BG26 | 225.0 | 20.7 | 0.25 | (Tang et al., 1997) | | *Phormidium sp. O-109* | BG25 | 225.0 | 19.3 | 0.20 | (Tang et al., 1997) | | *Phormidium sp. O-120* | BG27 | 225.0 | 35.0 | 0.41 | (Tang et al., 1997) | | *Phormidium sp. O-157* | BG30 | 225.0 | 16.1 | 0.16 | (Tang et al., 1997) | | *Phormidium sp. O-160* | BG31 | 225.0 | 20.1 | 0.13 | (Tang et al., 1997) | | *Phormidium sp. O-202* | BG33 | 225.0 | 25.0 | 0.31 | (Tang et al., 1997) | | *Phormidium sp. O-203* | BG34 | 225.0 | 20.6 | 0.24 | (Tang et al., 1997) | | *Phormidium sp. O-204* | BG35 | 225.0 | 19.6 | 0.26 | (Tang et al., 1997) | | *Phormidium sp. O-210* | BG36 | 225.0 | 17.0 | 0.21 | (Tang et al., 1997) | | *Phormidium sp. O-211* | BG37 | 225.0 | 15.9 | 0.30 | (Tang et al., 1997) | | *Phormidium sp. Pho689* | WC | 100.0 | 25.0 | 0.09 | (Li et al., 2012) | | *Phormidium sp. Pho689* | WC | 10.0 | 25.0 | 0.14 | (Li et al., 2012) | | *Phormidium sp. Pho689* | WC | 100.0 | 18.0 | 0.08 | (Li et al., 2012) | | *Phormidium sp. Pho689* | WC | 10.0 | 18.0 | 0.07 | (Li et al., 2012) | | *Planktothricoides raciborskii* | BG11 |  |  | 0.39 | This study | | *Planktothricoides raciborskii* | BG11 |  |  | 1.96 | This study | | *Planktothricoides raciborskii* | BG11 |  |  | 0.39 | This study | | *Planktothricoides raciborskii* | BG11 |  |  | 0.08 | This study | | *Planktothricoides raciborskii* | BG11 |  |  | 0.27 | This study | | *Planktothricoides raciborskii* | BG11 |  |  | 0.27 | This study | | *Planktothrix agardhii* | Modified MIV | 145.0 | 20.0 | 0.38 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 92.0 | 20.0 | 0.34 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 145.0 | 20.0 | 0.42 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 160.0 | 20.0 | 0.62 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 61.0 | 20.0 | 0.51 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 308.0 | 20.0 | 0.42 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 64.0 | 20.0 | 0.66 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 237.0 | 20.0 | 0.56 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 309.0 | 20.0 | 0.58 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIV | 467.0 | 20.0 | 0.29 | (Nicklisch, 1998) | | *Planktothrix agardhii* | Modified MIII |  | 28.0 | 0.74 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 24.0 | 0.72 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 20.0 | 0.58 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 16.0 | 0.43 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 12.0 | 0.23 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 8.0 | 0.13 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 20.0 | 0.56 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 20.0 | 0.57 | (Nicklisch et al., 2007) | | *Planktothrix agardhii* | Modified MIII |  | 20.0 | 0.44 | (Nicklisch et al., 2007) | | *Planktothrix agardhii CYA116* |  |  | 20.0 | 0.50 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA116* |  |  | 25.0 | 0.71 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA116* |  |  | 22.5 | 0.82 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA116* |  |  | 27.5 | NA | (Lürling et al., 2013) | | *Planktothrix agardhii CYA116* |  |  | 25.0 | 0.70 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA116* |  |  | 30.0 | 0.40 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 20.0 | 0.43 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 25.0 | 0.60 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 22.5 | NA | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 27.5 | 0.58 | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 25.0 | NA | (Lürling et al., 2013) | | *Planktothrix agardhii CYA126* |  |  | 30.0 | NA | (Lürling et al., 2013) | | *Planktothrix* sp. | BG11 | 5.0 | 25.0 | 0.02 | (Jia et al., 2019) | | *Planktothrix* sp. | BG11 | 17.0 | 25.0 | 0.16 | (Jia et al., 2019) | | *Planktothrix* sp. | BG11 | 36.0 | 25.0 | 0.20 | (Jia et al., 2019) | | *Planktothrix* sp. | BG11 | 85.0 | 25.0 | 0.16 | (Jia et al., 2019) | | *Planktothrix* sp. | BG11 | 250.0 | 25.0 | 0.18 | (Jia et al., 2019) | | *Planktothrix* sp. | BG11 | 4.4 | 25.0 | 0.00 | (Jia et al., 2019) | | *Plectonema battersii* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.18 | (Tiwari et al., 2001) | | *Plectonema boryanurn UTEX-482* |  |  |  | 1.44 | (Prakash et al., 1999) | | *Plectonema boryanurn UTEX-482* |  |  |  | 1.40 | (Prakash et al., 1999) | | *Plectonema boryanurn UTEX-485* |  |  |  | 0.29 | (Miskiewicz et al., 2000) | | *Plectonema boryanurn UTEX-485* |  |  |  | 2.05 | (Miskiewicz et al., 2000) | | *Plectonema boryanurn UTEX-485* |  |  |  | 0.39 | (Miskiewicz et al., 2000) | | *Plectonema boryanurn UTEX-485* |  |  |  | 2.15 | (Miskiewicz et al., 2000) | | *Plectonema golenkilianum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.07 | (Tiwari et al., 2001) | | *Plectonema nostocorum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.12 | (Tiwari et al., 2001) | | *Plectonema yellowstonense* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.14 | (Tiwari et al., 2001) | | *Pseudanabaena frigidum* | BG11 | 33.8 ~ 54.1 | 28.0 | 0.26 | (Tiwari et al., 2001) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 25.0 | 0.25 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 10.0 | 25.0 | 0.11 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 40.0 | 25.0 | 0.23 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 55.0 | 25.0 | 0.19 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 70.0 | 25.0 | 0.17 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 85.0 | 25.0 | 0.15 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 10.0 | 0.08 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 15.0 | 0.19 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 20.0 | 0.24 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 30.0 | 0.24 | (Zhang et al., 2016) | | *Pseudanabaena sp. FACHB1277* | BG11 | 25.0 | 35.0 | 0.20 | (Zhang et al., 2016) | | *Pseudanabaena sp. dqh15* | CT | 10.0 | 25.0 | 0.08 | (Wang and Li, 2015) | | *Pseudanabaena sp. dqh15* | CT | 30.0 | 25.0 | 0.09 | (Wang and Li, 2015) | | *Pseudanabaena sp. dqh15* | CT | 60.0 | 25.0 | 0.04 | (Wang and Li, 2015) | | *Pseudanabaena sp. dqh15* | CT | 30.0 | 10.0 | 0.18 | (Wang and Li, 2015) | | *Pseudanabaena sp. dqh15* | CT | 30.0 | 35.0 | 0.07 | (Wang and Li, 2015) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 15.0 | 0.13 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 20.0 | 0.17 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.19 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 30.0 | 0.16 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 35.0 | 0.13 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 40.0 | -0.02 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 0.0 | 25.0 | -0.13 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 9.0 | 25.0 | 0.18 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 18.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 27.0 | 25.0 | 0.23 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 36.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 45.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 142.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 216.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:0 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | -0.11 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:2.4mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | -0.01 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:4.8mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.04 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:9.6mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.09 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:19.2mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.17 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:38.4mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.19 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:76.8mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.20 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:153.6mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN:230.4mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:0mg/L | 71.0 | 25.0 | 0.06 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:0.04mg/L | 71.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:0.16mg/L | 71.0 | 25.0 | 0.25 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:0.32mg/L | 71.0 | 25.0 | 0.27 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:0.64mg/L | 71.0 | 25.0 | 0.28 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:1.28mg/L | 71.0 | 25.0 | 0.28 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:5.12mg/L | 71.0 | 25.0 | 0.24 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:10.24mg/L | 71.0 | 25.0 | 0.23 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP:102.4mg/L | 71.0 | 25.0 | 0.05 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.00 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.24 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.23 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.24 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.00 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.00 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.25 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.25 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.22 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.20 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.20 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.20 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Pseudanabaena* sp. | TN: 247 mg/L,TP: 7.12 mg/L | 71.0 | 25.0 | 0.21 | (Gao et al., 2018) | | *Selenastrum capricornutum* |  |  | 30.0 | 0.61 | (Fujimoto et al., 1994) | | *Selenastrum capricornutum* |  |  | 21.0 | 1.08 | (Novak and Brune, 1985) | | *Selenastrum minutum* |  |  | 35.0 | 1.73 | (Bouarab et al., 2002) | | *Synechococcus elongatus PCC6301* |  |  | 20.0 | 0.30 | (Lürling et al., 2013) | | *Synechococcus elongatus PCC6301* |  |  | 25.0 | 0.67 | (Lürling et al., 2013) | | *Synechococcus elongatus PCC6301* |  |  | 22.5 | 0.64 | (Lürling et al., 2013) | | *Synechococcus elongatus PCC6301* |  |  | 27.5 | 0.72 | (Lürling et al., 2013) | | *Synechococcus elongatus PCC6301* |  |  | 25.0 | 0.82 | (Lürling et al., 2013) | | *Synechococcus elongatus PCC6301* |  |  | 30.0 | 0.91 | (Lürling et al., 2013) | | *Synechococcus sp. CCMP1768* |  | 43.0 |  | 0.23 | (Glibert et al., 2009) | | *Synechococcus sp. CCMP1768* |  | 43.0 |  | 0.49 | (Glibert et al., 2009) | | *Synechococcus sp. strain PCC6301* |  |  |  | 0.03 | (Lepp and Schmidt, 2004) | | *Synechococcus sp. strain PCC6301* |  |  |  | 0.48 | (Lepp and Schmidt, 2004) | | *Synechococcus sp. strain PCC6301* |  |  |  | 3.40 | (Lepp and Schmidt, 2004) | | *Synechococcus sp. strain PCC6301* |  |  |  | 1.37 | (Lepp and Schmidt, 2004) | | *Synechococcus sp. strain PCC6301* |  |  |  | 0.19 | (Lepp and Schmidt, 2004) | | *Synechococcus spp.* | Nitrate:1.7µM |  | 25.2 | 2.16 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.1µM |  | 26.5 | 3.12 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.1µM |  | 26.6 | -0.24 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0µM |  | 28.2 | 0.24 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.4µM |  | 28.6 | 1.44 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.4µM |  | 27.4 | 0.96 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:4.6µM |  | 24.8 | 9.36 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:37.2µM |  | 22.5 | 0.72 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:29.5µM |  | 24.7 | 2.40 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.3µM |  | 25.3 | -1.92 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.6µM |  | 26.4 | 4.08 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.4µM |  | 26.1 | 2.16 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.3µM |  | 25.9 | -0.24 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.2µM |  | 26.1 | 1.68 | (Gong and Tsai, 2019) | | *Synechococcus spp.* | Nitrate:0.1µM |  | 29.9 | 1.44 | (Gong and Tsai, 2019) | | *Synechococcus spp.* |  |  |  | 0.70 | (Liu et al., 1998) | | *Synechococcus spp.* |  |  |  | 1.33 | (Liu et al., 1998) | | *Synechococcus spp.* |  |  |  | 0.44 | (Liu et al., 1998) | | *Synechococcus spp.* |  |  |  | 1.35 | (Liu et al., 1998) | | *Synechococcus spp.* |  |  |  | 1.49 | (Liu et al., 1998) | | *Synechococcus spp.* | NO3:2.3µM; PO4:0.4µM |  | 28.5 | 0.60 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:19.4µM; PO4:1.9µM |  |  | 0.66 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:1.8µM; PO4:0.5µM |  | 30.0 | 0.62 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:18.6µM; PO4:1.8µM |  |  | 0.65 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:3.1µM; PO4:0.8µM |  | 29.0 | 0.59 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:16.2µM; PO4:1.5µM |  |  | 0.64 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:3.5µM; PO4:0.7µM |  | 28.5 | 0.54 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* | NO3:18.9µM; PO4:1.6µM |  |  | 0.56 | (Tsai and Mukhanov, 2021) | | *Synechococcus spp.* |  |  |  | -0.25 | (Heng et al., 2017) | | *Synechococcus spp.* |  |  |  | 0.98 | (Heng et al., 2017) | | *Synechococcus spp.* |  |  |  | 0.29 | (Heng et al., 2017) | | *Synechococcus spp.* |  |  |  | 0.82 | (Heng et al., 2017) | | *Synechococcus* sp. |  |  | 20.0 | 0.98 | (Malinsky-Rushansky, 2002) | | *Synechococcus* sp. |  |  | 28.0 | 1.19 | (Malinsky-Rushansky, 2002) | | *Synechococcus* sp. | N:2.54µM N d–1; P:1/20N |  |  | 1.17 | (Agawin et al., 2000) | | *Synechococcus* sp. | 0~10.18µM N d–1; P:1/20N |  |  | 5.00 | (Agawin et al., 2000) | | *Synechococcus* sp. | 0.25µM N d–1; P:1/20N |  |  | 3.05 | (Agawin et al., 2000) | |

# References

Agawin, N., Duarte, C., Agustı́, S., 2000. Response of mediterranean synechococcus growth and loss rates to experimental nutrient inputs. Marine Ecology Progress Series 206, 97–106. <https://doi.org/10.3354/meps206097>

Bañares-España, E., Kromkamp, J.C., López-Rodas, V., Costas, E., Flores-Moya, A., 2012. Photoacclimation of cultured strains of the cyanobacteriumr *Microcystis aeruginosa* to high-light and low-light conditions. FEMS Microbiology Ecology 83, 700–710. <https://doi.org/10.1111/1574-6941.12025>

Bonilla, S., Aubriot, L., Soares, M.C.S., González-piana, M., Fabre, A., Huszar, V.L.m., Lürling, M., Antoniades, D., Padisák, J., Kruk, C., 2012. What drives the distribution of the bloom-forming cyanobacteria *Planktothrix agardhii* and *Cylindrospermopsis Raciborskii*? Fems Microbiology Ecology 79, 594–607. <https://doi.org/10.1111/j.1574-6941.2011.01242.x>

Bouarab, L., Loudiki, M., Dauta, A., 2002. Croissance en autotrophie et en mixotrophie de la microalgue *Micractinium pusillum* fres. Isolée d´un lagunage naturel : Influence de la lumière et de la température. Journal of Water Science 15, 73–86. https://doi.org/<https://doi.org/10.7202/705437ar>

Briand, E., Bormans, M., Quiblier, C., Salençon, M.-J., Humbert, J.-F., 2012. Evidence of the cost of the production of microcystins by microcystis aeruginosa under differing light and nitrate environmental conditions. PLoS ONE 7, e29981. <https://doi.org/10.1371/journal.pone.0029981>

Briand, J.-F., Leboulanger, C., Humbert, J.-F., Bernard, C., Dufour, P., 2004. CYLINDROSPERMOPSIS RACIBORSKII (CYANOBACTERIA) INVASION AT MID-LATITUDES: SELECTION, WIDE PHYSIOLOGICAL TOLERANCE, ORGLOBALWARMING?1. Journal of Phycology 40, 231–238. <https://doi.org/10.1111/j.1529-8817.2004.03118.x>

Cai, F., Yu, G., Zhang, K., Chen, Y., Li, Q., Yang, Y., Xie, J., Wang, Y., Li, R., 2017. Geosmin production and polyphasic characterization of *Oscillatoria limosa* agardh ex gomont isolated from the open canal of a large drinking water system in tianjin city, china. Harmful Algae 69, 28–37. <https://doi.org/10.1016/j.hal.2017.09.006>

Chu, Z., Jin, X., Iwami, N., Inamori, Y., 2007. The effect of temperature on growth characteristics and competitions of *Microcystis aeruginosa* and *Oscillatoria mougeotii* in a shallow, eutrophic lake simulator system, in: Eutrophication of Shallow Lakes with Special Reference to Lake Taihu, China. Springer Netherlands, pp. 217–223. <https://doi.org/10.1007/978-1-4020-6158-5_24>

Coles, J.F., Jones, R.C., 2000. Effect of temperature on photosynthesis-light response and growth of four phytoplankton species isolated from a tidal freshwater river. Journal of Phycology 36, 7–16. <https://doi.org/10.1046/j.1529-8817.2000.98219.x>

Elmetri, I., Bell, P., 2004. Effects of phosphorus on the growth and nitrogen fixation rates of *Lyngbya majuscula*: Implications for management in Moreton Bay, Queensland. Marine Ecology Progress Series 281, 27–35. <https://doi.org/10.3354/meps281027>

Foy, R.H., Gibson, C.E., Smith, R.V., 1976. The influence of daylength, light intensity and temperature on the growth rates of planktonic blue-green algae. British Phycological Journal 11, 151–163. <https://doi.org/10.1080/00071617600650181>

Fujimoto, N., Inamori, Y., Sugiura, N., Sudo, R., 1994. Effects of temperature change on algal growth. Environmental Technology 15, 497–500. <https://doi.org/10.1080/09593339409385455>

Gao, J., Zhu, J., Wang, M., Dong, W., 2018. Dominance and growth factors of *Pseudanabaena* sp. In drinking water source reservoirs, southern china. Sustainability 10, 3936. <https://doi.org/10.3390/su10113936>

Giraldo-Silva, A., Nelson, C., Penfold, C., Barger, N.N., Garcia-Pichel, F., 2019. Effect of preconditioning to the soil environment on the performance of 20 cyanobacterial strains used as inoculum for biocrust restoration. Restoration Ecology 28. <https://doi.org/10.1111/rec.13048>

Glibert, P., Burkholder, J., Kana, T., Alexander, J., Skelton, H., Shilling, C., 2009. Grazing by karenia brevis on synechococcus enhances its growth rate and may help to sustain blooms. Aquatic Microbial Ecology 55, 17–30. <https://doi.org/10.3354/ame01279>

Gong, G.-C., Tsai, A.-Y., 2019. Reduced daytime net growth rate of synechococcus spp. In the east china sea in summer estimated using a dilution approach. Estuarine, Coastal and Shelf Science 219, 90–96. <https://doi.org/10.1016/j.ecss.2019.01.029>

Heng, P.L., Lim, J.H., Lee, C.W., 2017. Synechococcus production and grazing loss rates in nearshore tropical waters. Environmental Monitoring and Assessment 189. <https://doi.org/10.1007/s10661-017-5838-1>

Hesse, K., Dittmann, E., BÃrner, T., 2001. Consequences of impaired microcystin production for light-dependent growth and pigmentation of microcystis aeruginosa PCC 7806. FEMS Microbiology Ecology 37, 39–43. <https://doi.org/10.1111/j.1574-6941.2001.tb00851.x>

Imai, H., Chang, K., Kusaba, M., Nakano, S., 2009. Temperature-dependent dominance of *Microcystis* (cyanophyceae) species: *M. aeruginosa* and *M. wesenbergii*. Journal of Plankton Research 31, 171–178. <https://doi.org/10.1093/plankt/fbn110>

Jia, Z., Su, M., Liu, T., Guo, Q., Wang, Q., Burch, M., Yu, J., Yang, M., 2019. Light as a possible regulator of MIB-producing *Planktothrix* in source water reservoir, mechanism and *in-situ* verification. Harmful Algae 88, 101658. <https://doi.org/10.1016/j.hal.2019.101658>

Karsten, U., 1996. Growth and organic osmolytes of geographically different isolates of microcoleus chthonoplastes (cyanobacteria) from benthic microbial mats: Response to salinity change1. Journal of Phycology 32, 501–506. https://doi.org/<https://doi.org/10.1111/j.0022-3646.1996.00501.x>

Konopka, A., Brock, T.D., 1978. Effect of temperature on blue-green algae (cyanobacteria) in Lake Mendota. Applied and Environmental Microbiology 36, 572–576. <https://doi.org/10.1128/aem.36.4.572-576.1978>

Kratz, W.A., Myers, J., 1955. NUTRITION AND GROWTH OF SEVERAL BLUE-GREEN ALGAE. American Journal of Botany 42, 282–287. <https://doi.org/10.1002/j.1537-2197.1955.tb11120.x>

Lababpour, A., Kaviani, M., 2016. Isolation and submerged culture biomass production of the arid land cyanobacteria microcoleus spp., an investigation on its utilization for biological soil crust restoration. Environmental Earth Sciences 75. <https://doi.org/10.1007/s12665-016-6313-y>

Lehtimaki, J., Moisander, P., Sivonen, K., Kononen, K., 1997. Growth, nitrogen fixation, and nodularin production by two Baltic Sea cyanobacteria. Applied and Environmental Microbiology 63, 1647–1656. <https://doi.org/10.1128/aem.63.5.1647-1656.1997>

Lepp, P.W., Schmidt, T.M., 2004. Changes in synechococcus population size and cellular ribosomal RNA content in response to predation and nutrient limitation. Microbial Ecology 48, 1–9. <https://doi.org/10.1007/s00248-003-1041-8>

Li, M., Nkrumah, P.N., Xiao, M., 2014. Biochemical composition of microcystis aeruginosa related to specific growth rate: Insight into the effects of abiotic factors. Inland Waters 4, 357–362. <https://doi.org/10.5268/IW-4.4.710>

Li, Z., Hobson, P., An, W., Burch, M.D., House, J., Yang, M., 2012. Earthy odor compounds production and loss in three cyanobacterial cultures. Water Research 46, 5165–5173. <https://doi.org/10.1016/j.watres.2012.06.008>

Liu, H., Campbell, L., Landry, M.R., Nolla, H.A., Brown, S.L., Constantinou, J., 1998. Prochlorococcus and synechococcus growth rates and contributions to production in the arabian sea during the 1995 southwest and northeast monsoons. Deep Sea Research Part II: Topical Studies in Oceanography 45, 2327–2352. <https://doi.org/10.1016/s0967-0645(98)00073-3>

Lürling, M., Eshetu, F., Faassen, E.J., Kosten, S., Huszar, V.L.M., 2013. Comparison of cyanobacterial and green algal growth rates at different temperatures. Freshwater Biology 58, 552–559. <https://doi.org/10.1111/j.1365-2427.2012.02866.x>

Malinsky-Rushansky, N., 2002. Physiological characteristics of picophytoplankton, isolated from lake kinneret: Responses to light and temperature. Journal of Plankton Research 24, 1173–1183. <https://doi.org/10.1093/plankt/24.11.1173>

Marinho, M.M., Souza, M.B.G., Lürling, M., 2013. Light and phosphate competition between cylindrospermopsis raciborskii and microcystis aeruginosa is strain dependent. Microbial Ecology 66, 479–488. <https://doi.org/10.1007/s00248-013-0232-1>

Mehnert, G., Leunert, F., Cires, S., Johnk, K.D., Rucker, J., Nixdorf, B., Wiedner, C., 2010. Competitiveness of invasive and native cyanobacteria from temperate freshwaters under various light and temperature conditions. Journal of Plankton Research 32, 1009–1021. <https://doi.org/10.1093/plankt/fbq033>

Mello, M.M. e., Soares, M.C.S., Roland, F., Lurling, M., 2012. Growth inhibition and colony formation in the cyanobacterium microcystis aeruginosa induced by the cyanobacterium cylindrospermopsis raciborskii. Journal of Plankton Research 34, 987–994. <https://doi.org/10.1093/plankt/fbs056>

Miskiewicz, E., Ivanov, A.G., Williams, J.P., Khan, M.U., Falk, S., Huner, N.P.A., 2000. Photosynthetic acclimation of the filamentous cyanobacterium, plectonema boryanum UTEX 485, to temperature and light. Plant and Cell Physiology 41, 767–775. <https://doi.org/10.1093/pcp/41.6.767>

Mowe, M.A.D., Abbas, F., Porojan, C., Mitrovic, S.M., Lim, R.P., Furey, A., Yeo, D.C.J., 2015. Roles of nitrogen and phosphorus in growth responses and toxin production (using LC-MS/MS) of tropical microcystis ichthyoblabe and m. Flos-aquae. Journal of Applied Phycology 28, 1543–1552. <https://doi.org/10.1007/s10811-015-0688-0>

Nalewajko, C., Murphy, T.P., 2001. Effects of temperature, and availability of nitrogen and phosphorus on the abundance of *Anabaena* and *Microcystis* in Lake Biwa, Japan: An experimental approach. Limnology 2, 45–48. <https://doi.org/10.1007/s102010170015>

Nicklisch, A., 1999. Competition between the cyanobacterium limnothrix redekei and some spring species of diatoms under p-limitation. International Review of Hydrobiology 84, 233–241. https://doi.org/<https://doi.org/10.1002/iroh.199900024>

Nicklisch, A., 1998. Growth and light absorption of some planktonic cyanobacteria, diatoms and chlorophyceae under simulated natural light fluctuations. Journal of Plankton Research 20, 105–119. <https://doi.org/10.1093/plankt/20.1.105>

Nicklisch, A., 1992. [The interaction of irradiance and temperature on the growth rate of *Limnothrix redekei* and its mathematical description](https://www.schweizerbart.de/papers/archiv_algolstud/detail/63/66818/The_interaction_of_irradiance_and_temperature_on_the_growth_rate_of_Limnothrix_redekei_and_its_mathematical_description). Algological Studies/Archiv für Hydrobiologie, Supplement Volumes 63, 1–18.

Nicklisch, A., Kohl, J.-G., 1983. Growth kinetics ofMicrocystis aeruginosa (KÜTZ)KÜTZ as a basis for modelling its population dynamics. Internationale Revue der gesamten Hydrobiologie und Hydrographie 68, 317–326. <https://doi.org/10.1002/iroh.19830680304>

Nicklisch, A., Shatwell, T., Kohler, J., 2007. Analysis and modelling of the interactive effects of temperature and light on phytoplankton growth and relevance for the spring bloom. Journal of Plankton Research 30, 75–91. <https://doi.org/10.1093/plankt/fbm099>

Novak, J.T., Brune, D.E., 1985. Inorganic carbon limited growth kinetics of some freshwater algae. Water Research 19, 215–225. <https://doi.org/10.1016/0043-1354(85)90203-9>

OHKUBO, N., YAGI, O., OKADA, M., 1991. Effects of temperature and illumination on the growth of blue-green alga microcystis viridis. Japanese Journal of Limnology (Rikusuigaku Zasshi) 52, 255–261. <https://doi.org/10.3739/rikusui.52.255>

Prakash, A., Margaritis, A., Saunders, R.C., Vijayan, S., 1999. High concentrations ammonia removal by the cyanobacterium plectonema boryanum in a photobioreactor system. The Canadian Journal of Chemical Engineering 77, 99–106. <https://doi.org/10.1002/cjce.5450770116>

Rapala, J., Sivonen, K., Luukkainen, R., Niemelä, S.I., 1993. Anatoxin-a concentration inAnabaena andAphanizomenon under different environmental conditions and comparison of growth by toxic and non-toxicAnabaena-strains a laboratory study. Journal of Applied Phycology 5, 581–591. <https://doi.org/10.1007/bf02184637>

Rapala, J., Sivonen, K., Lyra, C., Niemel = a, S.I., 1997. [Variation of microcystins, cyanobacterial hepatotoxins, in *Anabaena* spp. As a function of growth stimuli.](http://aem.asm.org/content/63/6/2206.abstract) Applied and Environmental Microbiology 63, 2206–12.

Sabour, B., Loudiki, M., Vasconcelos, V., 2009. Growth responses of *Microcystis ichthyoblabe* kützing and *Anabaena aphanizomenoides* forti (cyanobacteria) under different nitrogen and phosphorus conditions. Chemistry and Ecology 25, 337–344. <https://doi.org/10.1080/02757540903193130>

Saker, M.L., Griffiths, D.J., 2000. The effect of temperature on growth and cylindrospermopsin content of seven isolates of cylindrospermopsis raciborskii (nostocales, cyanophyceae) from water bodies in northern australia. Phycologia 39, 349–354. <https://doi.org/10.2216/i0031-8884-39-4-349.1>

Saker, M.L., Thomas, A.D., Norton, J.H., 1999. Cattle mortality attributed to the toxic cyanobacteriumCylindrospermopsis raciborskii in an outback region of north queensland. Environmental Toxicology 14, 179–182. <https://doi.org/10.1002/(sici)1522-7278(199902)14:1<179::aid-tox23>3.0.co;2-g>

Salvador, D., Churro, C., Valério, E., 2016. Evaluating the influence of light intensity in mcyA gene expression and microcystin production in toxic strains of *Planktothrix agardhii* and *Microcystis aeruginosa*. Journal of Microbiological Methods 123, 4–12. <https://doi.org/10.1016/j.mimet.2016.02.002>

Seki, H., Ozawa, H., Ichimura, S., 1981. Temperature dependence of filament length of *Anabaena spiroides Klebahn var. crassa Lemm.* Hydrobiologia 83, 419–423. <https://doi.org/10.1007/bf02187039>

Shatwell, T., Nicklisch, A., Köhler, J., 2012. Temperature and photoperiod effects on phytoplankton growing under simulated mixed layer light fluctuations. Limnology and Oceanography 57, 541–553. <https://doi.org/10.4319/lo.2012.57.2.0541>

Shen, H., Song, L., 2007. Comparative studies on physiological responses to phosphorus in two phenotypes of bloom-forming microcystis. Hydrobiologia 592, 475–486. <https://doi.org/10.1007/s10750-007-0794-3>

Shen, Q., Shimizu, K., Miao, H., Tsukino, S., Utsumi, M., Lei, Z., Zhang, Z., Nishimura, O., Asada, Y., Fujimoto, N., Takanashi, H., Akiba, M., 2020. Effects of elevated nitrogen on the growth and geosmin productivity of dolichospermum smithii. Environmental Science and Pollution Research 28, 177–184. <https://doi.org/10.1007/s11356-020-10429-4>

Sivonen, K., Niemel�, S.I., Niemi, R.M., Lepist�, L., Luoma, T.H., R�s�nen, L.A., 1990. Toxic cyanobacteria (blue-green algae) in finnish fresh and coastal waters. Hydrobiologia 190, 267–275. <https://doi.org/10.1007/bf00008195>

Soares, M.C.S., Lurling, M., Huszar, V.L.M., 2010. Responses of the rotifer brachionus calyciflorus to two tropical toxic cyanobacteria (cylindrospermopsis raciborskii and microcystis aeruginosa) in pure and mixed diets with green algae. Journal of Plankton Research 32, 999–1008. <https://doi.org/10.1093/plankt/fbq042>

Staehr, P.A., Birkeland, M.J., 2006. Temperature acclimation of growth, photosynthesis and respiration in two mesophilic phytoplankton species. Phycologia 45, 648–656. <https://doi.org/10.2216/06-04.1>

Sugimoto, K., Negishi, Y., Amano, Y., Machida, M., Imazeki, F., 2015. Roles of dilution rate and nitrogen concentration in competition between the cyanobacterium microcystis aeruginosa and the diatom cyclotella sp. In eutrophic lakes. Journal of Applied Phycology 28, 2255–2263. <https://doi.org/10.1007/s10811-015-0754-7>

Suruzzaman, M., Cao, T., Lu, J., Wang, Y., Su, M., Yang, M., 2022. Evaluation of the MIB-producing potential based on real-time qPCR in drinking water reservoirs. Environmental Research 112308. <https://doi.org/10.1016/j.envres.2021.112308>

TALBOT, P., 1991. A comparative study and mathematical modeling of temperature, light and growth of three microalgae potentially useful for wastewater treatment. Water Research 25, 465–472. <https://doi.org/10.1016/0043-1354(91)90083-3>

Tang, E.P.Y., Tremblay, R., Vincent, W.F., 1997. CYANOBACTERIAL DOMINANCE OF POLAR FRESHWATER ECOSYSTEMS: ARE HIGH-LATITUDE MAT-FORMERS ADAPTED TO LOW TEMPERATURE?1. Journal of Phycology 33, 171–181. <https://doi.org/10.1111/j.0022-3646.1997.00171.x>

Thomas, M.K., Litchman, E., 2015. Effects of temperature and nitrogen availability on the growth of invasive and native cyanobacteria. Hydrobiologia 763, 357–369. <https://doi.org/10.1007/s10750-015-2390-2>

Tiwari, O., Prasanna, R., Yadav, A., Wattal, D., Singh, P., 2001. Growth potential and biocide tolerance of non-heterocystous filamentous cyanobacterial isolates from rice fields of uttar pradesh, india. Biology and Fertility of Soils 34, 291–295. <https://doi.org/10.1007/s003740100402>

Torres, C.D.A., Lürling, M., Marinho, M.M., 2016. Assessment of the effects of light availability on growth and competition between strains of *Planktothrix agardhii* and *Microcystis aeruginosa*. Microbial Ecology 71, 802–813. <https://doi.org/10.1007/s00248-015-0719-z>

Tsai, A.-Y., Mukhanov, V., 2021. Response of growth and grazing rate of nanoflagellates on synechococcus spp. To experimental nutrient enrichment. Water 13, 2686. <https://doi.org/10.3390/w13192686>

Tsujimura, S., Ishikawa, K., Tsukada, H., 2001. Effect of temperature on growth of the cyanobacterium aphanizomenon flos-aquae in lake biwa and lake yogo. Phycological Research 49, 275–280. <https://doi.org/10.1111/j.1440-1835.2001.tb00257.x>

Tsujimura, S., Okubo, T., 2003. Development of *Anabaena* blooms in a small reservoir with dense sediment akinete population, with special reference to temperature and irradiance. Journal of Plankton Research 25, 1059–1067. <https://doi.org/10.1093/plankt/25.9.1059>

Van Der Ploeg, M., Dennis, M., De Regt, M., 1995. Biology of *Oscillatoria chalybea*, a 2-methylisoborneol producing blue-green alga of Mississippi Catfish Ponds. Water Science and Technology 31, 173–180. <https://doi.org/10.1016/0273-1223(95)00473-Z>

Venter, A., Vuuren, S.J. van, Pieterse, A.J.H., 2003. *Oscillatoria simplicissima* : An autecological study. Water SA 29, 105–112. <https://doi.org/10.10520/EJC116052>

Vincent, W.F., Silvester, W.B., 1979. Growth of blue-green algae in the manukau (new zealand) oxidation pondsII. Experimental studies on algal interaction. Water Research 13, 717–723. <https://doi.org/10.1016/0043-1354(79)90235-5>

Wang, W., Song, X.-K., Ru, S.-G., 2007. Studies on the factors affecting the growth and hemolytic activity of *Anabaena variabilis*. Journal of Applied Phycology 19, 365–371. <https://doi.org/10.1007/s10811-006-9143-6>

Wang, Z., Li, R., 2015. Effects of light and temperature on the odor production of 2-methylisoborneol-producing *Pseudanabaena* sp. and geosmin-producing *Anabaena ucrainica* (cyanobacteria). Biochemical Systematics and Ecology 58, 219–226. <https://doi.org/10.1016/j.bse.2014.12.013>

Watanabe, M.F., Oishi, S., 1985. Effects of environmental factors on toxicity of a cyanobacterium ( *Microcystis aeruginosa*) under culture conditions. Applied and Environmental Microbiology 49, 1342–1344. <https://doi.org/10.1128/aem.49.5.1342-1344.1985>

Westhuizen, A.J. van der, Eloff, J.N., 1985. Effect of temperature and light on the toxicity and growth of the blue-green alga microcystis aeruginosa (UV-006). Planta 163, 55–59. <https://doi.org/10.1007/bf00395897>

Wiedner, C., Visser, P.M., Fastner, J., Metcalf, J.S., Codd, G.A., Mur, L.R., 2003. Effects of light on the microcystin content of *Microcystis* strain PCC 7806. Applied and Environmental Microbiology 69, 1475–1481. <https://doi.org/10.1128/aem.69.3.1475-1481.2003>

Willis, A., Chuang, A.W., Woodhouse, J.N., Neilan, B.A., Burford, M.A., 2016. Intraspecific variation in growth, morphology and toxin quotas for the cyanobacterium, cylindrospermopsis raciborskii. Toxicon 119, 307–310. <https://doi.org/10.1016/j.toxicon.2016.07.005>

Wu, X., Wu, Z., Song, L., 2011. Phenotype and temperature affect the affinity for dissolved inorganic carbon in a cyanobacterium microcystis. Hydrobiologia 675, 175–186. <https://doi.org/10.1007/s10750-011-0815-0>

Xiao, M., Hamilton, D.P., O’Brien, K.R., Adams, M.P., Willis, A., Burford, M.A., 2020. Are laboratory growth rate experiments relevant to explaining bloom-forming cyanobacteria distributions at global scale? Harmful Algae 92, 101732. <https://doi.org/10.1016/j.hal.2019.101732>

Xiao, M., Willis, A., Burford, M.A., 2017. Differences in cyanobacterial strain responses to light and temperature reflect species plasticity. Harmful Algae 62, 84–93. <https://doi.org/10.1016/j.hal.2016.12.008>

Zhang, T., Li, L., Song, L., Chen, W., 2009. Effects of temperature and light on the growth and geosmin production of *Lyngbya kuetzingii* (cyanophyta). Journal of Applied Phycology 21, 279–285. <https://doi.org/10.1007/s10811-008-9363-z>

Zhang, T., Zheng, L., Li, L., Song, L., 2016. 2-methylisoborneol production characteristics of *Pseudanabaena* sp. FACHB 1277 isolated from Xionghe Reservoir, China. Journal of Applied Phycology 1–10. <https://doi.org/10.1007/s10811-016-0864-x>