# Establishment of quantitative PCR methods for the quantification of geosmin-producing potential and Anabaena sp. in freshwater systems

Supplementary Information

Ming Su ID,a,b,#, Virginie Gagetc,d, Steven Giglioc,e, Michael Burchc, Wei Ana, and Min Yanga,b,*

# These authors contributed equally to this work.

a Key Laboratory of Environmental Aquatic Chemistry, State Key Laboratory of Regional Environment and Sustainability, Research Center for Eco-Environmental Sciences, Chinese Academy of Sciences., Beijing 100085, China.
b University of Chinese Academy of Sciences., Beijing 100049, China.
c South Australia Water Corporation, Australian Water Quality Centre, Adelaide, SA 5000, Australia.
d Ecology, Evolution and Landscape Sciences, School of Earth and Environment Sciences, Adelaide University, Adelaide nil, Australia.
e Healthscope Pathology SA, Adelaide, SA 5034, Australia.

* Corresponding to: Min Yang (yangmin@rcees.ac.cn)

Figures and tables below provide supplementary evidence for the main text.

# Field sites

Seven sites were chosen to evaluate the applicability of the two qPCR assays. Five freshwater aquaculture ponds included Weiming Lake (WML), Forest Park (FP), Yuyuantan (YYT), Houhai (HH) and Lotus Ponds (LP), and two rivers were included: Wenyu River (WYR) and Qing River (QR), spread over five districts in Beijing, China (Fig. 1).

Fig. 1: The location of field sampling sites.

# Geosmin component

The geosmin concentration of all culture samples collected during the simulated bloom was determined by GC-MS. Intracellular geosmin increased along with the bloom stage and cell density, whereas extracellular geosmin increased during the first seven weeks and then decreased to a low level. Intracellular geosmin concentrations ranged from 1×102 to 1×105 ng L​−1. Most geosmin (83%-100%) was intracellular (Table 1).

Table 1: The geosmin component in culture samples. Extra- and intra- denote extracellular and intracellular geosmin concentration, respectively (ng L​−1); intra-portion is the intracellular fraction of total geosmin. Date (day); AE1 extra-; AE1 intra-; AE1 intra-portion; AE2 extra-; AE2 intra-; AE2 intra-portion. 1; 4.9; 191; 97.50%; 15.3; 906.4; 98.34%. 4; 87.5; 423; 82.86%; 73.1; 2,150.7; 96.71%. 6; 9.0; 799.8; 98.89%; 25.5; 4,200.9; 99.40%. 8; 73.0; 1,323.3; 94.77%; 232.5; 8,955.7; 97.47%. 13; 190.0; 4,867.4; 96.24%; 294.6; 31,874.4; 99.08%. 16; 32.4; 11,498.4; 99.72%; 237.3; 30,616.3; 99.23%. 20; 161.1; 25,131.5; 99.36%; 1,312.4; 42,078.8; 96.98%. 23; 428.6; 17,993.2; 97.67%; 2,043.3; 18,556.4; 90.08%. 27; 729.5; 26,197.0; 97.29%; 2,783.0; 18,643.0; 87.01%. 30; 527.0; 79,501.8; 99.34%; 2,416.2; 73,727.4; 96.83%. 36; 2,381.0; 104,830.0; 97.78%; 1,365.1; 88,458.5; 98.48%. 44; 10,138.0; 82,235.5; 89.02%; 5,493.8; 69,928.2; 92.72%. 51; 384.5; 67,369.8; 99.43%; 6,235.7; 77,520.6; 92.55%. 57; 56.7; 82,066.6; 99.93%; 248.2; 37,136.9; 99.34%. 65; 299.5; 163,120.5; 99.82%; 582.6; 111,916.5; 99.48%. 72; 19.1; 174,100.7; 99.99%; 69.2; 116,592.6; 99.94%.

# Primer specificity

Genomic DNA from 30 Anabaena strains and 17 other strains was tested with the ARG primers AN03/06 by conventional PCR and gel electrophoresis. The available electrophoresis results are shown in Fig. 2.

Fig. 2: Gel results of conventional PCR using ARG primers. Lanes: 1, FACHB-170; 2, FACHB-190; 3, FACHB-245; 4, FACHB-251; 5, FACHB-319; 6, FACHB-362; 7, FACHB-380; 8, FACHB-1096; 9, FACHB-1194; 10, FACHB-1199; 11, FACHB-1219; 12, FACHB-1239; 13, FACHB-1250; 14, FACHB-1255; 15, FACHB-1263; 16, FADC-0001; 17, FADC-0002; 18, nuclease-free water.

The specificity of GSG primers 173AF/AR was tested using conventional PCR with seven Anabaena strains and one Microcystis strain, coupled with gel electrophoresis (Fig. 3). GC-MS comparisons indicated that the primers amplified GSG in geosmin-producing Anabaena strains.

Fig. 3: Gel results of conventional PCR using GSG primers. Lanes: 1, FACHB-1199; 2, FACHB-1219; 3, FACHB-1239; 4, FACHB-1250; 5, FADC-0001; 6, FACHB-1255; 7, FACHB-1263; 8, FADC-0002.

# Validation on field samples

The 63 field samples used to validate the two qPCR assays were spiked with different concentrations of FADC-0001 (Anabaena spiroides) cells. Two ANOVA tests evaluated the effects of background biomass. The logarithmic ARG copy density normalized by cell density ranged from 1.17 (FP) to 1.54 (QR) (Fig. 4). The site effect was not significant (F=1.003, p=0.43). The logarithmic GSG copy density normalized by intracellular geosmin ranged from 4.96 (QR) to 5.7 (WML) (Fig. 5), with no significant site effect (F=2.27, p=0.053).

Fig. 4: ANOVA test for the ARG qPCR assay evaluating the effect of background biomass.

Fig. 5: ANOVA test for the GSG qPCR assay evaluating the effect of background biomass.

# Extracellular geosmin and GSG density

The GSG density of 32 culture samples and 63 field samples was compared with geosmin concentration measured by GC-MS. The intracellular geosmin concentration was more closely related to GSG density than extracellular geosmin. Fig. 6 shows the comparison with extracellular geosmin. The log-log regressions for culture and field samples were:

γp=0.4214γg′−1.114 r2=0.253, p<0.01γp=0.4697γg′−2.490 r2=0.622, p<0.01  1

Here, γp is GSG copy number and γg′ is extracellular geosmin concentration. The two regression lines are shown in Fig. 6.

Fig. 6: Quantification of GSG copy numbers by qPCR and their relationship with extracellular geosmin concentration measured by GC-MS. Points represent 32 culture samples and 63 spiked field samples; error bars show standard deviations. Lines show log-log regressions and 99% confidence intervals.

# ARG and GSG density in field samples

The ARG and GSG densities showed high consistency in both culture and field samples, although they were amplified separately (Fig. 7).

Fig. 7: qPCR variance analysis comparing ARG and GSG copy numbers in field samples.